HSW

&

HEALTH, SAFETY

& WELLBEING

Stockport Metropolitan Borough Council

Health, Safety & Wellbeing Department

Stopford House

Piccadilly

Stockport

SK1 3XE

Safety Management System (HSG65)

Audit and Premises

Inspection Report

2026

Document Control

| Audit & Inspection of: | Torkington Primary School Torkington Road Hazel Grove Stockport Metropolitan Borough Council SK7 6NR |
| --- | --- |
| Audit & Inspection by: | Sue Pullan |
| Audit & Inspection date: | 23rd April 2026 |
| Reference: | HSW/A&IR/SP/011/230426 |

| DOCUMENT DETAILS |  |
| --- | --- |
| Document Title: | Safety Management System Audit and Inspection Report |
| Document Owner(s): | Health, Safety and Wellbeing Team |
| Version Number: | Version 2.0 |
| Document Status: | Issued |
| Document Date: | November 2025 |

| REVISION HISTORY |  |  |  |  |
| --- | --- | --- | --- | --- |
| Version | Status | Author | Date | Notes |
| 2.0 | Live | SP | 29/04/2026 | Report sent to the school on 29/04/2026 |

| SCHOOL SIGNATURES – To be signed off post audit |  |  |
| --- | --- | --- |
| The OSHW arrangements are reviewed annually to ensure that policies and procedures documented remain up to date and relevant. |  |  |
| Head teacher signature: |  | Date: 29/04/2026 |
| Head of Governors signature: |  | Date: 29/04/2026 |

Contents

1.	Document Control	1

2.	Contents	2

3.	Disclaimer	3

4.	Introduction	3

5.	Acknowledgements	4

6.	Background	4

7.	Aims and objectives	4

8.	Methodology	4

9.	Findings of the Audit	5

10.1 	Policies, Procedures, Risk Assessments, Safe Systems of Work and Communication	5

Occupational Health Safety and Welfare (OHSW) Policy	5

Risk Assessments	6

Safe Systems of Work (SSoW)	7

Working at Height	8

Manual Handling	9

Control of Substances Hazardous to Health (CoSHH)	9

Dealing with Accidents, Incidents and Ill-Health and First Aid	11

Communication, Consultation and Cooperation	13

Business Continuity (Including Critical Incident Management and Lockdown)	14

10.2 	Buildings and Grounds	15

Fire Safety Management	15

Asbestos	17

Legionella Risk Assessment	18

Gas and Electrical Safety: Systems and Appliances	19

Outdoor Play Equipment	20

Contractors	20

Pedestrian and Vehicular Movement	21

Kitchen: Access	21

Kitchen: Extractor Hoods	21

Stage Lighting and Rigging	22

Roller Shutters	22

Gates and Barriers	22

Site security (including digital security)	23

Air Conditioning Units	23

LOLER Inspections	24

10.3	High Risk Curriculum Areas and Staff Training	24

Science	24

Physical Education: Equipment	24

Physical Education: Storage	24

Design and Technology	24

Health and Safety Training: Induction Training	25

General health and safety training	25

10.4	Performance Monitoring and Measurement	26

Active Monitoring	26

Reactive Monitoring	27

10.5	Audit	27

Auditing and Reviewing the OHSWMS	27

10.6	Statutory Compliance Checklist	29

10.7	Physical Inspection – Observations and Recommendations	33

10.	Guidance to school	33

11.	Executive Summary	34

12.	Inspection and Audit Action Plan 2023	35

13.	Inspection and Audit Action Plan 2024	Error! Bookmark not defined.

Disclaimer

Every effort has been made to ensure that all statements and information offered in this report are accurate and true and are related to or qualified by observations made during the audit and inspection, together with information supplied by the school.

In the time available, the audit did not confirm every activity affecting the school, although every effort has been made to identify a realistic picture.

This report only comments on the conditions observed, information supplied, and impressions gained at the time of the visit; it should not be taken as identifying all aspects of possible unsafe conditions and/or contravention of statutory requirements.

The accuracy of this audit report rests on the representations made by the school being honest and truthful. The organisation must therefore notify Stockport Metropolitan Borough Council (SMBC) of any factual inaccuracies or misinterpretations of information provided by the organisation as reflected in this report.

NB: Please note that this audit and inspection report represents a snapshot in time completed by an individual SMBC Audit Officer. Due to differences in knowledge, experience, and skills consequently officers will not always the same faults or issues.

Introduction

As part of Stockport Metropolitan Borough Council’s Occupational Health, Safety, and Wellbeing (OHSW) monitoring process, your school has recently been through an OHSW audit and inspection.

The audit was conducted by reviewing the school’s health and safety documentation and procedures. This was accompanied by an inspection or tour of the site and associated buildings.

The audit and inspection are tools used to determine the effective implementation of the school’s OHSW standards. This report has been prepared to identify the strengths and weaknesses in your Occupational Health, Safety, and Welfare Management System (OHSWMS). It provides recommendations for consideration, giving a basis from which continuous improvements to the standards of health, safety, and welfare can be made.

The purpose of this report is to provide the school’s leadership team and governing body with an assessment of the effectiveness of the school’s health and safety management provisions. Although it would also be useful to share the report with staff and parents/carers as part of the school’s ongoing engagement with health, safety, and welfare issues.

The report serves to highlight strengths and describe weaknesses in the school’s management of occupational safety, health, and welfare and recommends solutions and timeframes for resolutions where deficiencies and issues are identified.

The report focuses on areas of significant quality management and highlights areas that require improvement. It is felt that this qualitative approach will help schools grow stronger in the four management categories of plan, do, check, and act, which form the basis of the SMBC OHSWMS.

Acknowledgements

The auditor would like to place on record thanks to Zara, Andy, Nuno, and Andrea who gave their time and assisted with the audit process.

Background

According to both the school’s and the authority’s records, this is the 11 th formal audit and inspection of the school’s OHSWMS since these audits began in 2015.

Aims and objectives

The primary aim of this audit and inspection is to provide an external and independent assessment of the OHSWMS, and arrangements developed by the school and the effectiveness of their implementation.

Methodology

The audit and inspection were carried out in two parts:

- A desktop audit of the school’s health and safety management system.

- A physical inspection of the school’s premises.

During both activities, the auditor gathered evidence of the school’s approach to safety management by:

- Comprehensively reviewing safety management documents to check for: suitability and sufficiency and regular review and revision

- Asking questions of key staff to check for an awareness and understanding of workplace health, safety, and wellbeing provisions

- Touring the workplace to check for a clean, tidy, healthy, and safe work environment and to observe work processes and safe systems of work to see whether procedures are followed and ensure that appropriate measures are in place to control hazards and mitigate risk.

- The audit and inspection have five distinct components:

- Policies, procedures, risk assessments, safe systems of work and communication

- Buildings, facilities, and grounds

- High risk curriculum areas (e.g., PE and forest schools) and staff training

- Performance monitoring and measurement

- Audit

The results from the above components combine to produce the inspection and audit action plan.

Findings of the audit

10.1 	Policies, procedures, risk assessments, safe systems of work and communication

| Occupational Health Safety and Welfare (OHSW) Policy | What we found during the audit |
| --- | --- |
| To comply with the law, the school should have an OHSW (Occupational Health, Safety, and Wellbeing) plan that makes clear the organisational structure and arrangements for managing health, safety, and welfare. The OHSW policy should describe in detail the responsibilities and expectations of workers and managers, making it clear that performance will be monitored, and people held accountable. | The Health and Safety Policy is dated February 2026 and contained the appropriate contacts and other required information. The Policy is reviewed on an annual basis. |
| BEST PRACTICE: The OHSW policy should inform staff, on a practical level, of how they are expected to fulfil specific duties in accordance with the “school procedures and rules”. The OSHW policy should be amended, therefore, when a significant change occurs, for example changes in workplace practices and procedures |  |
| WHAT THE LAW SAYS: The OHSW policy should be consulted on with staff and Union representatives where possible and once it has been signed off by governors, it must be effectively communicated to all staff. This could be done for example, by letting the staff know that it is available on the shared drive or staff health and safety notice board. |  |
| LEGAL REFERENCE(S) The Health and Safety at Work Act 1974, Section 2 (3) ‘it shall be the duty of every employer to prepare and as often as may be appropriate revise a written statement of… general policy… and to bring the statement and any revision of it to the notice of all employees.’ Furthermore, Section 2 (6) outlines “the duty of every employer to consult on any such arrangements with a view to the making and maintenance of arrangements…” |  |
| FURTHER INFORMATION: It is recommended that the OSHW arrangements be reviewed annually to ensure that procedures documented remain up to date and relevant. Following this review the head teacher and chair of governors must sign the policy. |  |

| Risk assessments | What we found during the audit |
| --- | --- |
| To comply with the law, all significant risks must be identified, and a well-developed system for identifying hazards and evaluating risks relating to worker safety and health should be in place. Preventative and protective measures must be in operation, and the hierarchy of controls must always be observed. Site-specific, generic, and risk assessments for trips must be in place, and there must be evidence that these are reviewed on a regular basis and that they give an accurate reflection of the risks and the control measures in place at the school. Examples of Risk assessments that should be completed are: Bees Cleaning of bodily fluids Contractors. COSHH Assessments and Safety Data Sheets. Electricity at Work – 27.2.26. General Cleaning of the school – 24.3.26. Leaf blowing and Litter Picking and bin emptying – 27.2.26. Lifting and Handling. Litter bin emptying. Lone Working. Manual Handling. Opening and Closing Site. – 20.4.26. Playground Polling Station – April 2026 ready for 7.5.26. Slips, trips, and falls Snow and ice clearance including gritting Sports Day Student food preparation area. Sun Protection and Sun Cream 13.5.25. Use of ladders and erection of children’s display work. Use of power tools and hand tools Whole Site Risk Assessment that covers all areas is noted within the School’s Health and Safety Policy This list is not exhaustive | The majority, of risk assessments were, dated 6.3.26. The risk assessments were detailed and were activity led. The bees are looked after by trained beekeepers with appropriate PPE in place. |
| BEST PRACTICE: Examples of suitable and sufficient risk assessments are available from the Health, Safety and Wellbeing team on request. These are meant as guides only and provide a good indication of the hazards found in most schools. Any specific risk assessment MUST be modified to accurately reflect the hazards found in your own school and the control measures that you have in place. |  |
| WHAT THE LAW SAYS: There is a legal obligation to record the control measures in place, and as such, care should be taken to ensure that risk assessments are relevant, in every detail, to the activity or area being assessed. Written risk assessments and the associated control measures must be reviewed regularly. SMBC recommends that this is done annually or if there has been a significant change to working operations or practices. It is a legal requirement for every employer to assess the health and safety risks arising out of their work under regulation 3 of the Management of Health and Safety at Work Regulations 1999. This means to assess the significant risks and to put into place suitable and sufficient control measures. In addition, there is a requirement to consult staff in this process and effectively communicate the findings of these assessments to them. Once in place, the risk assessments must be monitored and reviewed to ensure that they remain relevant. Risk assessments must be reviewed regularly, following an accident, and to reflect changes within the school, e.g. the introduction of new equipment, substance, change in policy/procedures, a change in legislation or advancement in technology, etc. Staff should be involved in this process. |  |

| Safe Systems of Work (SSOW) | What we found during the audit |
| --- | --- |
| To fully comply, a well-documented array of information should be maintained in the form of safe work systems and school operating procedures (for example, working at heights and opening and closing the school or academy). Comprehensive and robust arrangements should exist for prevention, preparedness, and response to accidents and incidents, and these must be regularly maintained and tested. There should be good awareness of the arrangements amongst staff. Individual and specific events should be analysed, and where necessary Safe Systems of Work have been put in place. Please contact the Health, Safety, and Wellbeing Team if you need help developing your Safe System of Work. | The school have very robust safe systems of work in place through their pro-activeness relating to planning and ensuring that all activities are risk assessed and training is undertaken in all key areas. Accident trend analysis is in place. |
| WHAT THE LAW SAYS: The Management of Health and Safety at Work Regulations 1999, Regulation 3 (4) ‘Any assessment such as is referred to in paragraph (1) or (2) shall be reviewed by the employer or self-employed person who made it if a) there is reason to suspect that it is no longer valid; or b) there has been a significant change in the matters to which it relates; and whereas a result of any such review changes to an assessment are required, the employer or self-employed person concerned shall make them The Health and Safety at Work Act 1974, Section 2 (2) (a) An employer has the duty for ‘…the provision and maintenance of plant and systems of work that are, so far as is reasonably practicable, safe and without risks to health… The Management of Health and Safety at Work Regulations 1999, Regulation 8 (1) ‘Every employer shall a) Establish and where necessary give effect to appropriate procedures to be followed in the event of serious and imminent danger to persons at work in his undertaking…” |  |

| Working at height | What we found during the audit |
| --- | --- |
| To comply, a robust policy (using the hierarchy of control: avoid, prevent, and minimise) must exist for all workers working from heights. All ladder work lasting less than 30 minutes must be competency-based, and risk assessed. Any activity that lasts longer than 30 minutes must have a full and considered risk assessment. Caretaker’s ladders should be subject to a six-monthly visual and recorded inspection by the caretaker. Duty holders (head teachers) must do all that is reasonably practical to prevent anyone falling from heights or from a level surface to a depth, which are liable to cause injury. The key responsibilities of the Duty Holder are to ensure that: - All work at height is properly planned and organised. - The place where work at height is carried out is safe. - The equipment for work at height is appropriately inspected and maintained. - All work at height is carried out in a safe manner, using appropriate work equipment. - All persons involved in working at height are suitably trained, competent, and are supervised appropriately. - Supervision should be carried out by a competent person. - The risks arising from fragile surfaces are properly controlled. The risks arising from falling objects are properly controlled. | The work at height undertaken in the school by staff is generally putting up of displays and retrieving items from shelving. All significant work at height is contracted out. Use of ladders should be eliminated where possible, for example where long handled tools could be used. A use of ladders for short use risk assessment is in place dated 6.3.26. Ladder inspections take place at least on, a monthly basis with records kept. Ladders are checked prior to use. Ladder training has been undertaken by appropriate staff. A Working at height risk assessment is dated 6.3.26. |
| FURTHER INFORMATION: A copy of the SMBC Guidance for Working at Height Policy is available from the Health, Safety and Wellbeing Team. HRSafety&HealthTeam@stockport.gov.uk |  |

| Manual handling | What we found during the audit |
| --- | --- |
| All significant examples of manual handling must be risk assessed and these risks assessments regularly reviewed. Staff who require training have been identified and receive training and instruction. SMBC adheres to the SMART approach to lifting: Size up that load. - Assess the load (shape, size, and weight). - Determine where the load needs to be moved and placed. - Determine whether you can carry the load/whether a mechanical aid should be used. Move the load as close to the body as possible. - Carry the load as close to the body as possible. - Secure your grip. Always bend your knees - Keep feet apart in a comfortable position (usually in line with hips). - Minimise lower back bending. - Bend knees (squat or semi-squat position). Raise the load with your legs. - Lift the load with your legs, not your back, in a smooth motion (avoid twisting or jerky movements) - Maintain normal curvature of the spine. Turn your feet in the direction you want to move. - Change direction by pointing your feet and not twisting your back. - To set the load down, squat down, keep your head up and allow your legs to carry the weight. | The school only undertakes low risk manual handling tasks. Manual handling training has been undertaken by key staff. A Manual handling risk assessment is dated 6.3.26. |

Please note that manual handling training is provided by the Health, Safety and Wellbeing Team at SMBC and can be booked through SLA Online; https://secure2.sla-online.co.uk/SelectPortal.aspx

| Control of Substances Hazardous to Health (COSHH) | What we found during the audit |
| --- | --- |
| To fully comply product safety data sheets should be obtained from the manufacturer for every substance used at the school. COSHH risk assessments must be completed for all products used in the school and available for inspection in the Fire information file for the Fire and Rescue Service which is kept in the main office. A copy of COSHH risk assessment should also be kept in the caretakers/site manager’s office with the associated product for ease of access especially during emergency situations. COSHH risk assessments should be completed for substances used in the following departments: - Caretaker - Kitchen - Laboratory’s – Not Applicable on this site. - Technical workshops – Not Applicable on this site. This list is not exhaustive. Chemical Storage To fully comply hazardous substances must be stored correctly. Hazardous substances should be kept to a minimum and always replaced with less harmful products where possible. Flammable substances must be kept securely in a fire-retardant cupboard with suitable ventilation and away from ignition sources. Steps must be taken to ensure appropriate separation of hazardous substances to guard against accidental mixing. Pupils must not be granted unsupervised access to hazardous substances at any time. | There is a COSHH Inventory in place. However, individual COSHH Assessments require undertaking for all hazardous products such as WD40 and cleaning products that are scented. The Auditor sent the school a COSHH Assessment template post-audit. Safety data sheets are available to go alongside the COSHH Inventory. All chemicals are stored appropriately in a metal cabinet with appropriate signage installed on the front of it. The area where the items are stored is locked and secured at, all times, along with restricted access. |
| If a container shows a warning symbol (see examples below), you must assess the risks to users. |  |
| WHAT THE LAW SAYS: The Control of Substances Hazardous to Health (COSHH) Regulations stipulates that employers must: - assess the risks to health from chemicals and decide what controls are needed. - use those controls and make sure workers use them. - make sure the controls are working properly. - inform workers about the risks to their health; provide training for employees. Safety data sheets and/or COSHH risk assessments should be made available for users of hazardous substances. The Dangerous Substances and Explosive Atmospheres Regulations, 2002 require that flammable and highly flammable substances be controlled. These include petrol, LPG, solvent-based paints, varnishes, and some types of dust. |  |

BEST PRACTICE: Butane (blue cylinders) and propane (red cylinders) both of which, can be used for running domestic type Barbecues used, at school fairs/fete should not be stored on school premises. Any solvent-based products should be stored in lockable metal containers

FURTHER INFORMATION: Regarding the control of hazardous substances can be obtained from www.hse.gov.uk/COSHH/index.htm and a COSHH assessment tool is available from www.coshh-essentials.org.uk. Help and advice is also available from the Health, Safety and Wellbeing team at the Council: HRSafety&HealthTeam@stockport.gov.uk

| Dealing with accidents, incidents and ill-health and first aid | What we found during the audit |
| --- | --- |
| ACCIDENT RECORDING: The school should be using the SMBC portal below to report accident injuries and dangerous occurrences https://forms.stockport.gov.uk/accidents-and-incidents/what-are-you-reporting and use the portal to report and record the more serious incidents and especially where incidents involve a “workplace activity”, school facilities or equipment. Cuts, grazes, and bumps should be managed appropriately via a locally held accident reporting system based at the school. | The school has procedures for the use of the SMBC portal to record incidents. Local arrangements are in place for reporting accidents/incidents/near-misses within the school. |
| ACCIDENT REPORTING Staff should be aware of the procedures for reporting incidents as required under the 'Reporting of injuries, diseases, and dangerous occurrences regulations (RIDDOR) and should be able to properly identify accidents and incidents which must be highlighted to the Health, Safety and Wellbeing Team at SMBC for reporting to the Health and Safety Executive. | The school has awareness of the need to highlight more serious incidents to the health and safety team and an awareness of RIDDOR requirements. If an accident required reporting under RIDDOR the SMBC Health, Safety, and Wellbeing Team would report the accident and would send the school a copy of any RIDDOR Report. |
| ACCIDENT/INCIDENT INVESTIGATION AND MONITORING The school should maintain a well-documented recording system to track and document accidents and incidents. The recording of information complies with the law and provides a basis for effective analysis. It is recommended that an overview of accidents/incidents be regularly provided to the Head Teacher and Governing body so that trends can be monitored. | The school carry out accident investigations, where required with records kept. The Governing Board look over any accident reports at their Full Governor Board Meetings. |
| FIRST AID PROVISION (Including early years up to 5 years old where applicable) To comply the school must provide well-resourced first aid arrangements in terms of trained personnel and equipment. It is a requirement of the statutory framework that a paediatric first aider is always on school premises when children are present (and at least one person with paediatric first aid on outings) | The school has adequate first aid trained staff with posters located throughout site advertising who the first aiders are. There are currently 6 fully first aid trained staff members. There are also many staff who are emergency first aid trained. The First Aid Policy is dated March 2026. Trained first aiders accompany staff members on any trips or outings. |
| FIRST AID RECORDS In addition to recording more serious incidents, minor injuries and any first aid treatment given is locally recorded. During the audit, evidence was produced to show that any first aid treatment given is properly recorded. | First aid treatment is administered appropriately with accurate records kept. |
| DEFIBRILLATOR RECORDS Defibrillators should form part of a monthly check with checks recorded. Adult and Children’s pads should be checked along with the equipment inside the defibrillator. A designated person should be appointed to carry out regular checks of the defibrillator. | The defibrillators are checked on, a monthly basis by the school business manager with records kept. The defib has been registered on the defibrillator network. |
| ADMINISTRATION OF MEDICINES The school must have procedures in place to support pupils with health and medical needs. These include a written parental request form, a monitoring system and secure storage for medicines. Staff should be designated to administer medical care as and when required, ensuring each dosage is properly logged to avoid an accidental overdose. | The school has an appropriate medical needs policy which was last reviewed in March 2026. Medication is stored in appropriate areas which are kept secure and locked with restricted access. |
| BEST PRACTICE: The Information Management Toolkit for Schools (IRMS) is designed as guidance and sets out certain requirements for the keeping of records. - For accidents involving adults in schools, it is the date of the accident + 6 years. - For accidents involving pupils it is the Date of Birth + 25 years - Records relating to serious accidents and injury should be kept for date of incident + 12 years. |  |
| WHAT THE LAW SAYS: The Management of Health and Safety at Work Regulations 1999, Regulation 8 (1) ‘Every employer shall— Establish and where necessary give effect to appropriate procedures to be followed in the event of serious and imminent danger to persons at work in his undertaking…’ The Health and Safety (First Aid) Regulations 1981, Regulation 3 ‘(1) An employer shall provide, or ensure that there are provided, such equipment and facilities as are adequate and appropriate in the circumstances for enabling first-aid to be rendered to his employees if they are injured or become ill at work. (2) Subject to paragraphs (3) and (4), an employer shall provide, or ensure that there is provided, such number of suitable persons as is adequate and appropriate in the circumstances for rendering first-aid to his employees if they are injured or become ill at work; and for this purpose, a person shall not be suitable unless he has undergone: a) such training and has such qualification as the Health and Safety Executive may approve for the time being in respect of that case or class of case, and b) such additional training, if any, as may be appropriate in the circumstances of that case.’ The Social Security (Claims and Payments) Regulations 1979, Regulations 25 (3) ‘…every employer by whom 10 or more people are normally employed… shall, subject to the following provisions of this paragraph – Keep readily accessible a book… in which the appropriate particulars… of any accident -causing personal injury to a person employed by the employer… |  |

| Communication, consultation and cooperation | What we found during the audit |
| --- | --- |
| Communication, consultation, and cooperation are all essential elements of a robust health and safety ethos and are a legal requirement under the Management of Health and Safety at Work Regulations 1999. Staff should be provided with health and safety information and be able to raise any health and safety concerns directly to the head, the site manager or caretaker, and their line manager. Additional health, safety, and wellbeing information should be provided to staff by the staff handbook, the health, safety, and wellbeing notice board, and regular items on staff and governor’s meetings. | There is a health and safety notice board located in the staff room which houses the Health and Safety at Work Law Poster. A link to the school’s health and safety policy is soon to be installed on this board. There is a staff handbook that staff can use along with having access to health and safety documentation electronically. Health and Safety is a standing item at the Full Governor Meetings. |
| BEST PRACTICE: Good communication of health and safety can be achieved by several ways. Staff can be provided with health and safety information through: - Staff meetings - Departmental meetings - Health and safety committees - Leadership groups There should be a clearly defined route through which staff can express health and safety concerns. Staff should feel confident that their concerns are dealt with and so ideally such suggestions should be recorded. The staff handbook is a useful way to communicate health and safety procedures. This could be located on the staff shared drive and should include information on how staff can report health and safety concerns, how staff should report defects, risk assessments, emergency procedures, accident reporting and how staff can access health and safety-related policies and procedures. ISO45001 Clauses 7.4.1 to 7.4.3 “The organisation must establish, implement and maintain a process or processes for internal and external communications relevant to the OH&S management system, which provides for the gathering, updating and dissemination of information and which encompasses the following: What topics to communicate on, when to communicate, with whom to communicate, how to communicate”. It is, therefore, a legal requirement to consult and communicate with employees in all aspects of health and safety provision within the school and is an essential element of creating a robust health and safety culture. Employers have a duty to consult with their employees, or their representatives, on health and safety matters. Union safety representatives or employee safety representatives can assist with this process as well as providing valuable guidance in health and safety matters. |  |
| WHAT THE LAW SAYS: It is a requirement that employers must consult all their employees on health and safety matters about: - the introduction of any measure which may substantially affect their health and safety, e.g., the introduction of new equipment or new systems of work. - the arrangements for getting competent people to help them comply with health and safety laws. - the risks that have been identified from risk assessments, the hazards and dangers employees will be exposed to, and the measures in place to reduce or remove the risks. - the planning and organisation of any health and safety training. - the health and safety consequences of introducing new technology. |  |

| Business continuity (Including critical incident management and lockdown) | What we found during the audit |
| --- | --- |
| An emergency plan must be prepared so that staff are aware of the procedures to follow in a crisis. It is good practice to formally set out actions to be taken by designated staff during an emergency. The plan should cover minor incidents (e.g., heating breakdown, no water, etc.), when the school may have to close for a short time, and major incidents (e.g., fire, fatality, etc.), which may cause major disruption to the school. The emergency plan must include details of how the school will manage the dismissal of children and the collection arrangements for parents and carers. Consideration should be given to including the following in the plan: - How to respond efficiently during a crisis safeguarding pupils, staff, and visitors, this should name individuals and their roles during the situation. - preventing an escalation of the situation - Arrangements to temporarily relocate pupils if necessary. - Contact details, e.g., emergency numbers, school services, critical incident response teams, etc. - Emergency arrangements in case of an incident during an educational visit. Once the emergency plan has been ratified by the governing body, it should be shared with all those with responsibilities so that they are aware of the procedures to follow in a crisis. SMBC is able to provide advice in relation to emergency planning. For further details, contact samantha.jones@stockport.gov.uk The first step in preparing a lockdown policy is to be realistic about the risks to the school and its pupils, which will be linked to the ease of access into the school buildings. While terrorism has prompted schools to consider a lockdown procedure, different schools will identify different risks, and the likelihood of a negative event will vary. The risk may come from an intruder, an aggrieved parent, or an incident in the immediate vicinity of the school. A written lockdown plan must be in place and have been signed off on by the governors. The lockdown procedure should be tested at least twice per year in, order to ensure that staff and pupils are familiar with the requirements. The lockdown plan should include the notification process for a return to normal. Drills and practises should be recorded, and lessons learned should be observed and used to improve the plan when it is reviewed annually. | A critical incident / business continuity plan and a lockdown policy are in place. This was last updated in January 2026. The school has a lockdown policy in place with twice-yearly lockdown tests being carried out. The last lockdown test was undertaken on 17.9.25. |

10.2 	Buildings and Grounds

| Fire Safety Management | What we found during the audit |
| --- | --- |
| FIRE RISK ASSESSMENT The school must have an up-to-date fire risk assessment in place, which must be suitable and sufficient meaning that the main risks have been identified within the facilities. All actions must be worked through, and recommendations implemented. See table below for dates and provider. | The school has had a Fire Risk Assessment within the last 4 years. The latest fire risk assessment is dated 24.6.25 and was carried out by Firesec. The school has taken steps to ensure that any remedial works identified have been undertaken. |
| WHAT THE LAW SAYS: Under The Regulatory Reform (Fire Safety) 2005 Order every premises with 5 or more employees must assess the risks from fire, record the findings and inform all staff of the outcome of the assessment. |  |
| BEST PRACTICE: It is recommended by SMBC that 4 years is the maximum period that should be left between Fire Risk Assessments. |  |
| FIRE ALARM – TESTING AND MAINTENANCE BY A COMPETENT PERSON The fire alarm must have been serviced within the last 6 months, and service records are available to evidence this – see table below. Weekly fire alarm visual inspections are undertaken by the Caretaker. | The school has appropriate arrangements in place with for the testing of the fire alarm every 6 months and could evidence that these checks had been undertaken. Barlow’s carry out 6-monthly servicing of the fire alarms with the last service being undertaken on 4.12.25. The school have been advised that their current fire alarm is not sufficient or compliant and require a new system being installed. The school have received quotes for a new system and do not currently have the budget to have a new system installed. This is an ongoing issue with Estates Management. Barlow’s advised the school that they feel that the current fire alarm is operational and can still be used. Barlow’s have also submitted a quote for a new fire alarm system. Again, the school do not currently have the monies for a new fire alarm system to be installed by Barlow’s. |
| EMERGENCY LIGHTING TESTING AND MAINTENANCE BY A COMPETENT PERSON The emergency lighting must have been serviced within the last 6 months and service records available to evidence this. See table below. | The school has appropriate arrangements in place with for the testing of the emergency lighting every 6 months and could evidence that these checks had been undertaken. The last check was undertaken by Barlow’s on 4.12.25. |
| FIRE-FIGHTING EQUIPMENT – SERVICE BY A COMPETENT PERSON Fire-fighting equipment must have been serviced in the last 12 months and service records available to evidence this. See table below. | The school has appropriate arrangements in place with for the testing of the firefighting equipment every 12 months and could evidence that these checks had been undertaken. The latest service date was 5.10.25 by Walker Fire. The Caretaker carries out visual monthly inspections of the firefighting equipment with the last recorded date being 20.4.26. |
| CALL POINTS – CHECKS BY THE SCHOOL A different call point should be tested weekly, and the results recorded. The Fire Authority will ask to see evidence that these tests are carried out when the school is inspected. Failure to produce written evidence could result in an improvement notice. It is an offence to falsify records. See table below. Annual Call Point servicing is carried out by an accredited contractor. | The school has arrangements in place for the weekly testing of the call points and is keeping appropriate records. Action is being taken when faults are identified. The last recorded date was 20.4.26 by the Caretaker. The last recorded service of the call points was undertaken by Barlow’s on 5.6.25. |
| EMERGENCY LIGHTING – CHECKS BY THE SCHOOL Emergency lights must be tested monthly. See table below. | The school has arrangements in place for the monthly testing of the emergency lighting and is keeping appropriate records. Action is being taken when faults are identified. The last recorded date was 20.4.26 by the Caretaker. |
| WHAT THE LAW SAYS: All emergency lights must be checked each month to ensure continued operation of all assets. Results should be recorded and faults rectified immediately. |  |
| MEANS OF ESCAPE – CHECKS BY THE SCHOOL The school must check the facilities, equipment, and devices (e.g., fire exits, fire doors, exit routes) provided for fire safety on a weekly basis for damage, blockages, and ease of access. A written record of these checks should be kept. See table below. | The school has arrangements in place for the weekly means of escape checks and is keeping appropriate records. Action is taken when issues are identified. The last recorded date was 20.4.26. |
| WHAT THE LAW SAYS: It is a legal requirement to ensure that facilities, equipment, and devices provided for fire safety are checked on a weekly basis. For example, that emergency exit routes are not blocked, that final exit routes and stairwells are free from combustible material and that fire doors are in good working order. Regular checks must be included in an effective fire prevention monitoring routine. |  |
| FIRE DRILLS Timed emergency evacuation drills must be carried out each term and properly recorded. See table below. | The school practices a fire drill on a termly basis. The last fire drill is due to take place on 26.4.26. Fire drills are undertaken on, a termly basis with appropriate records kept. The school has good arrangements in place for the reviewing of the fire drill which are recorded. Required actions resulting from the fire drill are recorded. Action plans are discussed and drawn up with appropriate actions are made. |
| BEST PRACTICE: Guidance in relation to the display of pupil’s work in in accordance with the Fire and Regulatory Reform Order 2005 and as agreed by OFSTED, Chief Fire Officers Association and the Department for Education is available from the health, safety and wellbeing team on request. HRSafety&HealthTeam@stockport.gov.uk |  |

| Asbestos | What we found during the audit |
| --- | --- |
| An up-to-date management survey of Asbestos Containing Materials (ACMs) must be held by the school, and the risks associated with these ACMs must be assessed. The survey should be updated annually to reflect changes in circumstances and the condition of the asbestos. A plan must exist for the management of the asbestos in the school. Staff and visitors to the school (especially contractors) must be made aware of the location of any asbestos and understand the risks involved in any accidental disturbance. The management of asbestos must be kept under review and be reported to the governors at least annually or when any refurbishment work is due to take place in the school. There is a legal duty to ensure that: - Staff and contractors are made aware of the location and type of ACM. - The state of the ACMs is monitored, and changes in condition are reported immediately. The survey and risk register are updated following the removal of any ACMs by a competent person. | An Asbestos Management Plan was dated 29.10.25 and was undertaken by AEC. An Asbestos Register is in place. If any refurbishment works are carried out a demolition and refurbishment survey is carried out prior to any commencement of works. |
| WHAT THE LAW SAYS The Control of Asbestos Regulations 2012 states: “The measures to be specified in the plan for managing the risk shall include adequate measures for - monitoring the condition of any asbestos or any substance containing or suspected of containing asbestos. - ensuring any asbestos or any such substance is properly maintained or where necessary safely removed; and - ensuring that information about the location and condition of any asbestos or any such substance is: - provided to every person liable to disturb it - made available to the emergency services.” |  |

| Legionella Risk Assessment (LRA) | What we found during the audit |
| --- | --- |
| It is a legal requirement to have up to date versions of the following two documents available for inspection on site at any time: - A Legionella Risk Assessment (LRA) - A Written Scheme of Works (sometimes called a Written Scheme of Control) These documents must have been completed by a competent person. Concerns raised in the risk assessment must have been addressed and the school should have received a prioritised list and explanation of what work is required and why. It is recommended that weekly temperature tests as recommended by the legionella risk assessment should be carried out by the site manager, who must have received the necessary training. Further advice is available on the management of Legionella from your service provider and via SLA on-line. | A Legionella risk assessment and written scheme were evidenced during the audit which have been undertaken within the last two years. The latest legionella risk assessment and written scheme of work were carried out by AEC on 2.1.26. Legionella Risk Assessments and Written Scheme of Works are legally required to be undertaken every 2-years which the school do follow. Any remedial actions identified in the risk assessment have been addressed. Monthly temperature testing, anti- scald checks and periodic testing of the TMV’s is being undertaken by AEC with the latest recorded date being 22.4.26. The Caretaker is undertaking weekly flushing of the little used outlets with records kept. The latest recorded date is 20.4.26. |
| WHAT THE LAW SAYS: Extracts below taken from L8 (Fourth edition) Published 2013 Legionella Risk Assessment 47. The record of the assessment is a living document that must be reviewed to ensure it remains up to date. Arrange to review the assessment regularly and specifically whenever there is reason to suspect it is no longer valid. An indication of when to review the assessment and what to consider should be recorded. This may result from, e.g.: (a) changes to the water system or its use (b) changes to the use of the building in which the water system is installed (c) the availability of new information about risks or control measures (d) the results of checks indicating that control measures are no longer effective (e) changes to key personnel (f) a case of legionnaires’ disease/legionellosis associated with the system Written Scheme of Works 65. For precautions to remain effective, the condition and performance of the system will need to be monitored. The appointed responsible person should oversee and manage this. Or, where appropriate, an external contractor or an independent third party can do it. Management should involve: (a) checking the performance and operation of the system and its component parts (b) inspecting the accessible parts of the system for damage and signs of contamination (c) monitoring to ensure that the treatment regime continues to control to the required standard. 66. The frequency and extent of routine monitoring will depend on the operating characteristics of the water system. Advice should be taken from competent service providers on the frequency of the Risk Assessment and the Written Scheme of Control. |  |

| Gas and electrical safety: systems and appliances | What we found during the audit |
| --- | --- |
| GAS SAFETY Service records should be available to show that the gas boilers are serviced regularly, See table below. | The gas soundness/ tightness testing has been undertaken within the last 5 years. The last recorded date is 23.11.25 and was undertaken by The Dodd Group. Appropriate arrangements are in place for a gas safe catering check to be undertaken annually. This was last undertaken on 23.11.25 by The Dodd Group. Appropriate arrangements are in place for the annual testing of the gas boilers. The last recorded date is 16.3.26 and was carried out by The Dodd Group. Appropriate arrangements are in place for the thorough examination of the pressure systems associated with the heating system, in accordance with a written scheme of control. The pressure systems were last serviced by The Dodd Group on 16.3.26. |
| FIXED ELECTRICAL INSTALLATION A competent person should have checked the fixed electrical installations within the last 5 -years and documentation provided to evidence this. Failed installations and other C1 and C2 recommendations should have been acted upon. See table below. | The electrical installation has been tested within the last 5 years by The Dodd Group on 7.9.23. The system is categorised overall as satisfactory. |
| PORTABLE ELECTRICAL APPLIANCES The school has a suitable and sufficient PAT policy in place (including a risk assessment) and any equipment identified as high risk in this assessment has been tested. Further information and full suite of management documentation is available on SLA online. See table below. | The school has appropriate arrangements in place for portable appliance testing with records kept. The PAT Testing is carried out by Bradbell with their last inspection having been undertaken on 15.9.25. |

| Outdoor play equipment | What we found during the audit |
| --- | --- |
| As part of best practice, a formal prior to use inspection of the playground equipment should be carried out daily by supervising staff. Monthly recorded inspections should be undertaken and recorded by a competent person (Site Supervisor) and records available to verify this. Additionally, an annual inspection by an insurance approved contractor should be carried out. Any issues raised should have been suitability dealt with. See table below. | The school has appropriate arrangements in place for the annual inspection of the play equipment and can evidence that this has taken place within the last twelve months. Sportsafe carried out the inspection of the outdoor play equipment on 2.9.25. The caretaker carries out visual inspections of the playground equipment with records kept. |

| Contractors | What we found during the audit |
| --- | --- |
| The school uses some contractors that have not come from an approved list. Care should be taken to ensure that contractors meet certain criteria including: - what experience they have in the type of work you want done. - health and safety policies and practices. - examples of their recent health and safety performance (number of accidents etc.). - qualifications and skills. - their selection procedure for sub-contractors. - their safety method statements. - health and safety training and supervision. - their arrangements for consulting their workforce. - if they have any independent assessment of their competence. - if they are members of a relevant trade or professional body. The school can then decide how much evidence needs to be sought in support of what prospective contractors have stated. | The school has a facilities management agreement in place with 360/Stockport Homes who are accredited by SMBC. Risk assessments and method statements are obtained for any work undertaken, in addition to having undertaken a vetting process if the school procure their own contractors through their due-diligence system. |

| Pedestrian and vehicular movement | What we found during the audit |
| --- | --- |
| The school should look carefully at arrangements for drop off and pick up times and conduct a whole site-specific risk assessment where high risks are identified, and reactive measures taken to mitigate risk. Pedestrian walkways should be provided and clearly defined to ensure staff, pupils, parents, and visitors have a safe route into and out of the school building wherever possible. Pupil areas should be properly separated from car parks and other vehicle movement areas such as deliveries and refuse collection where practicable. | The school has conducted a risk assessment which details the controls in place for vehicle and pedestrian segregation. A risk assessment was undertaken on 23.4.26. The arrangements in place at the school appear to be satisfactory. |

| Kitchen: access | What we found during the audit |
| --- | --- |
| Because this is a high-risk area access to the kitchen should be secure and appropriate signage displayed to prevent unauthorised access. Any staff or visitors entering the food preparation area should wear appropriate Personal Protective Equipment such as slip resistant footwear. Hair must be tied back and covered with a hat to avoid contaminating food. | The school has appropriate arrangements for securing the kitchen against unauthorised access. |

| Kitchen: extractor hoods | What we found during the audit |
| --- | --- |
| The extractor hoods should be cleaned and serviced on an annual basis, which is good practice. The school should ensure that the recommended system is cleaned and serviced to the standard in TR19 guidance. | The school has appropriate arrangements in place for the annual testing of the kitchen extraction and could provide evidence that this had taken place within the last 12 months. The extractor hoods were last serviced by The Dodd Group on 26.11.25. A deep clean of kitchen equipment and filters was undertaken by Impact Hygiene on 2.2.26. Kitchen appliances were last serviced by The Dodd Group on 26.11.25. |
| BEST PRACTICE: Extractor hoods and local exhaust ventilation systems should be cleaned and serviced by a competent person at least annually. |  |

| Stage lighting and rigging | What we found during the audit |
| --- | --- |
| Stage lighting electrical systems should be periodically inspected annually and have an Electrical Installation Condition Report (EICR) to demonstrate a compliant maintenance regime. Compliance with wiring regulations BS7671: 2008 is required and overhead static equipment such as fixed lighting bars, curtain tracks or other equipment must be inspected annually under the Provision and Use of Work Equipment Regulations 1998 (PUWER). Whilst Winched systems such as scenery bars and pulleys need to be tested annually under the Lifting Operations and Lifting Equipment Regulations 1998. PAT is also required annually of frequently moved lights/fittings. See table below. | The school has appropriate arrangements in place for the annual testing of the stage lighting and rigging and could provide evidence that this had taken place within the last 12 months. The stage lighting and rigging was last inspected on 17.2.26 by Torpedo. |

| Roller shutters | What we found during the audit |
| --- | --- |
| Design, manufacture, supply, and installation of roller shutters, comes under Supply of Machinery (Safety) Regulations 2008 but there is no specific health and safety legal requirement dictating how often roller doors should be inspected or tested. SMBC recommends an annual safety and maintenance inspection under PUWER (1998) which requires that work equipment is safe to use on installation and maintained in safe condition for use. Also, regulation 5 of the Workplace (Health, Safety and Welfare Regulations),1992 states that any powered door needs to be “maintained in an efficient state…subject to a suitable system of maintenance”. See table below. | The school has appropriate arrangements in place for the annual testing of the roller shutters and could provide evidence that this had taken place within the last 12 months. The latest service was undertaken by Door Care and Security on 1.12.25. |
| BEST PRACTICE: BS standard EN 12635:2002 provides guidance on documentation, operation, use and maintenance including requirements for a logbook which should detail; operating instructions, maintenance and repair visits, details of work undertaken, details of changes/upgrades, name date and signature of responsible person |  |

| Gates and barriers | What we found during the audit |
| --- | --- |
| The legal position is that powered gate systems are “machinery”. The Health and Safety Executive has lead responsibility for enforcement of this legislation, which has been transposed into UK law as the Supply of Machinery (Safety) Regulations .2008. The school should have suitable and sufficient gates and barriers providing adequate security for the school. All gates should be tested annually by a competent contractor: | The school has appropriate arrangements in place for the annual testing of the gates and barriers and could provide evidence that this had taken place within the last 12 months. The latest gates and barriers inspection was undertaken by Triad on 2.9.25. The caretaker carries out a weekly visual inspection of the gates and fencing with appropriate records kept. The latest recorded date was 20.4.26. |
| BEST PRACTICE: Gates and fences in a primary school should as a minimum conform to BS EN 1176 and be RoSPA-approved. |  |

| Site security (including digital security) | What we found during the audit |
| --- | --- |
| Intruder and lockdown alarms and CCTV The school must have appropriate security measures in place to help prevent trespass, burglary, and anti-social behaviour. The law requires employers to take a common sense and proportionate approach to identify, assess, and keep under review health and safety-related risks and take steps to eliminate or reduce those risks. This includes security risks, such as attacks on staff and pupils. In England safeguarding legislation is based on 3 main Acts: - Children Act 1989 - Children Act 2004 - Children and Social Work Act 2017 Safeguarding legislation requires anyone working with children and young people to share information or concerns relating to a child's safety and wellbeing. For further information see: https://commonslibrary.parliament.uk/research-briefings/cbp-8023/ https://www.gov.uk/government/publications/keeping-children-safe-in-education--2 | There is no CCTV in place on this site. The Intruder alarm is serviced on an annual basis by Totally Local Company with the last recorded date being 11.12.25. |
| WHAT THE LAW SAYS: Every school is different, and you should seek advice from your local police service’s designing out crime officer (DOCO) for clarification of any specific concerns relating to the security of your premises. |  |

| Air conditioning units | What we found during the audit |
| --- | --- |
| The school should have an annual maintenance regime in place with a registered air conditioning company. A full record of inspections and maintenance visits should be kept and available for inspection Units should be serviced annually. The school must check that units have been cleaned and serviced thoroughly. | The air conditioning on site is currently not in use as of 2023. |
| BEST PRACTICE: Regular servicing improves the efficiency of your air conditioner. Professional advice says that for every year of operation in which you do not service your air-conditioning it loses 5% of its efficiency. By law any cooling or heating systems with more than 3kg of ozone depleting substances including HCFCs and HFCs must be checked annually for leakage. F-Gas Regulations contain requirements for labelling, leak checking, record-keeping, and maintenance staff qualifications. All air conditioning systems with an effective combined rated output of more than 12kw must be regularly inspected by an energy assessor. The inspections must be no more than five years apart. |  |

| LOLER inspections | What we found during the audit |
| --- | --- |
| All lifting equipment within the school should be tested in line with the legislation every 6 months for equipment used for lifting of persons and 12 months for lifting equipment used for lifting of goods. A record should be kept of these tests. | Not Applicable to this setting as the school do not currently have any children or staff who require hoists or slings. |
| WHAT THE LAW SAYS: Lifting equipment within a school that lifts people including passenger lifts and hoists mechanical needs to be tested every 6 months as do lifting accessories, including slings, shackles, hooks and chains. The inspected and testing is a requirement of the Lifting Operations and Lifting Regulations, 1998. |  |

10.3	High-risk curriculum areas and staff training

| Science | What we found during the audit |
| --- | --- |
| A full range of risk assessments must be in place, and the department should comply with all CLEAPS requirements. Full guidance documents are available from HRSafety&HealthTeam@stockport.gov.uk | Not Applicable to this site as it is a primary school. |

| Physical education: equipment | What we found during the audit |
| --- | --- |
| All PE equipment should be serviced annually by a competent person and recommendations made to rectify faults followed up. Service records should be available to evidence this. | The PE Equipment was last inspected by Sportsafe on 2.9.25. |

| Physical education: storage | What we found during the audit |
| --- | --- |
| PE equipment must be properly stored so that staff and pupils can easily access it without causing injury. Mats must be stored appropriately and away from fire exits. Heavy equipment should be stored at lower levels. | PE Equipment is adequately stored with safe access and egress being in place. |

| Design and technology | What we found during the audit |
| --- | --- |
| A full range of risk assessments must be in place, and the department complies with all Design and Technology codes of best practice. | The school is a primary school so does not carry out design and technology workshops. |
| BEST PRACTICE: It is recommended by SMBC that all CLEAPS documentation is read and understood by appropriate Heads of Department. |  |

| Health and safety training: induction training | What we found during the audit |
| --- | --- |
| New staff must receive health and safety information during their induction period. Induction training includes procedures for emergency evacuation, a copy of or access to the school’s health, safety and welfare policy, accident reporting procedure, location of asbestos containing material, how to report maintenance issues, etc. A formal record of the information given should be placed on staff’s personal records. Further guidance and information on what should be included in the training can be obtained from SLA Online. | The school offers induction training including the following health and safety content: Fire safety and emergency procedures Awareness of the Health and Safety policy Awareness of the location of school policies First aid arrangements Accident procedures There is a staff handbook for the school. The induction also includes a full walk around of the premises on commencement of work. |
| WHAT THE LAW SAYS: It is a legal requirement that all new staff receive health and safety induction training. Keeping induction training records enables the school to demonstrate that health and safety training has been given. It is recommended that a record of the health and safety induction information given be kept on employees’ personal files. The Health and Safety at Work Act 1974, Section 2 (2) (c) ‘Without prejudice to the generality of an employer’s duty under the preceding subsection, the matters to which that duty extends include in particular—… …The provision of such information, instruction, training, and supervision as is necessary to ensure, so far as is reasonably practicable, the health and safety at work of his employees…’ The Management of Health and Safety at Work Regulations 1999, Regulation 10 ‘Every employer shall provide his employees with comprehensible and relevant information’. The Management of Health and Safety at Work Regulations 1999, Regulation 13 (2) ‘Every employer shall ensure that his employees are provided with adequate health and safety training…on their being recruited into the employer’s undertaking; and on their being exposed to new or increased risks…” |  |

| General health and safety training | What we found during the audit |
| --- | --- |
| All staff must have received health and safety training relative to their role and responsibility, and this should be recorded in a training matrix and kept up to date by the School Business Manager/Training Coordinator. It is recommended that those dealing with health safety and wellbeing in schools receive training undertaken by IOSH called Managing Safely: https://www.iosh.co.uk/managingsafely/# | Asbestos Awareness. Legionella Awareness. Fire Safety training is undertaken by all staff. Risk Assessment Training. This is recommended for all staff who have health and safety responsibilities when it becomes available through the SMBC Health, Safety, and Wellbeing Team. Ladder Training is undertaken by the caretaker. Working at Height Training is undertaken by the caretaker. Manual Handling is undertaken by all key staff. Schools Leaders Health and Safety Awareness Training or Managing Safely is undertaken by the Headteacher and Business Manager. All staff have recently undertaken Martyn’s Law Training online. |
| BEST PRACTICE: IOSH Managing safely in schools: https://www.iosh.com/training-and-skills/iosh-training-courses/managing-safely/ |  |
| The Health and Safety at Work Act requires employers to "provide whatever information, instruction, training, and supervision as is necessary to ensure, so far as is reasonably practicable, the health and safety at work of your employees." This is expanded by the Management of Health and Safety at Work Regulations, which identify situations where health and safety training is particularly important, e.g., when people start work; because of being transferred or given a change of responsibilities; the introduction of new work equipment or a change to existing work equipment; and or where existing skills may have become rusty or need updating. You should assess the risks to employees while they are at work and to any other people who may be affected by the way the work is carried out. This will identify the required information, instruction, or training required to enable employees to carry out their work safely. Refresher training should also be provided as necessary. WHAT THE LAW SAYS: Appropriate training may include but are not limited to the following: Course: Requirement of: Attendees Fire safety awareness Regulatory Reform (Fire Safety) Order Leadership Team Fire warden training Regulatory Reform (Fire Safety) Order All staff. Working with hazardous substances CoSHH Regulations Site Supervisor/Cleaners Moving and handling of pupils Manual Handling Regulations Site Supervisor/Cleaners Ladder / access equipment Working at Height Regulations Site Supervisors |  |

10.4	Performance monitoring and measurement

| Active monitoring | What we found during the audit |
| --- | --- |
| Monitoring of the working environment and review of work systems, premises, plant, and equipment should be frequent and systematic. The school should undertake health and safety walk around with the Health and Safety Governor, every term, which is attended by key people. A record should be kept of this walk around and an action plan drawn up and worked through in a prioritised fashion. | Documentation is being reviewed annually. The last health and safety walk around with the governor was undertaken on 24.3.26. The health and safety governor is regularly in school. SLT last carried out a safety tour on 16.3.26. All actions are noted and appropriate actions are taken. |
| WHAT THE LAW SAYS: The Management of Health and Safety at Work Regulations 1999, Regulation 5 ‘(1) Every employer shall make and give effect to such arrangements as are appropriate, having regard to the nature of his activities and the size of his undertaking, for the effective planning, auditee, control, monitoring and review of the preventive and protective measures. (2) Where the employer employs five or more employees, they shall record the arrangements referred to in paragraph (1).’ |  |

| Reactive monitoring | What we found during the audit |
| --- | --- |
| Investigations should be conducted for all accidents and incidents. They should be proportionate to the event and look to identify root cause and corrective actions. NB: The school must contact the Health, Safety and Wellbeing Team in the event of a serious on-site accident and the team will offer support and may conduct an accident investigation. | This is done through the accident reporting procedure. The school also have accident trend analysis in place. |
| WHAT THE LAW SAYS: The Social Security (Claims and Payments) Regulations 1979, Regulations 25 (1) ‘Every employer shall take reasonable steps to investigate the circumstances of every accident of which notice is given to him…’ |  |

10.5	Audit

| Auditing and reviewing the OHSWMS | What we found during the audit |
| --- | --- |
| Internal termly walk round inspections of the OHSWMS should take place in the form of documented site inspections and formulated action plans, which are reviewed to ensure that corrective action is taken where necessary. A key part of this process is the annual review of the Health, Safety, and Wellbeing Policy and associated procedures and assessments to ensure that these are current and specific to the school. | SLT, and the Caretaker carry out monthly safety walks of the site with the last documented date being 16.3.26. The health, and safety policy, is reviewed on an annual basis. |
| An external annual audit and inspection of the OHSWMS should take place. This may be completed by SMBC. The audit will recommend improvements to Health, Safety, and Wellbeing practices and give timeframes for implementation. Previous recommendations should have been adopted by the school within the time frames in, order for continuous improvement to be shown. | SMBC are the current provider. The school had carried out the actions from their last health and safety audit report. |
| WHAT THE LAW SAYS: The Management of Health and Safety at Work Regulations 1999, Regulation 5 ‘Every employer shall make and give effect to such arrangements as are appropriate, having regard to the nature of his activities and the size of his undertaking, for the effective planning, auditing, control, monitoring, and review of the preventive and protective measures. |  |
| Management reviews should be systematically undertaken by the Head teacher and School Business Manager. They should consider Health, Safety, and Wellbeing performance indicators such as number of accidents, location of accidents and trend analysis. There should also be evidence that audit findings, School improvement plans, are reviewed and prioritised by the Head teacher and Board of Governors. | This was evidenced at the audit. |

10.6	Statutory compliance

| Compliance Activities Within: [Please enter School Name] |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Responsible Person | Activity | Frequency | Planned Date | Completed Date | Completed by (Name of contractor/ site supervisor) | RAG | Notes |
| Contractor | Air conditioning units | Annually |  |  |  |  | There is currently no air conditioning in use on site as from 2023. |
| Headteacher | Asbestos management - annual management report | Annually |  | 29.10.25. | AEC |  | Annual report to Governors |
| Contractor | Asbestos management - specific surveys prior to intrusive works | As required |  |  | As and when required |  | Only required for project work |
| Caretaker | COSHH risk assessments from data sheets | Regularly | May 2026 | Not completed |  |  | COSHH Assessments are currently being worked on by the school for any hazardous products |
| Contractor | Drainage Inspection | Annually |  | 18.2.26. | Drainage Consultants |  |  |
| Contractor | Drainage Grease Trap Maintenance | Bi-Annually |  | 18.2.26. | Drainage Consultants |  |  |
| Contractor | Electrical - 5-year fixed wire testing | 5 years |  | 7.9.23. | The Dodd Group |  | All C1’s and C2’s must be completed |
| Caretaker | Electrical - PAT (elevated risk items only) visual inspections | Annually | 2027 | 15.9.25. | Bradbell |  | Example policy & further info available from H&S team |
| Caretaker | Fingershield Inspection | Ongoing | Ongoing | 20.4.26. | N. Borges |  | The caretaker carries out visual inspections on a weekly basis of the fingerguards. |
| Contractor | Fire Risk Assessment | 4 years |  | 24.6.25. | Firesec |  | If there are changes to building layout a new fire risk assessment should be procured |
| Headteacher | Fire Risk Assessment Review | Biennially |  | April 2026 | A. Buckley |  | Remedial actions to be completed |
| Contractor | Fire call points | Annually |  | 5.6.25. | Barlow’s |  |  |
| Caretaker | Fire call points | Weekly | Ongoing | 20.4.26. | N. Borges |  |  |
| Headteacher | Fire drills | Termly | June 2026 | March 2026. | A.Buckley |  |  |
| Contractor | Fire emergency alarm panel | Annually |  | 4.12.25. | Barlow’s |  | Remedials completed |
| Caretaker | Fire emergency lighting | Monthly | Ongoing | 20.4.26. | N. Borges |  |  |
| Contractor | Fire emergency lighting | Bi-annual |  | 4.12.25. | Barlow’s |  |  |
| Caretaker | Firefighting equipment | Monthly | Ongoing | 20.4.26. | N. Borges |  |  |
| Contractor | Firefighting equipment | Annually | October 2026 | 5.10.25. | Walker Fire |  |  |
| Caretaker | Fire means of escape | Weekly | 27.4.26. | 20.4.26. | N. Borges |  | Any damaged/blocked doors must be recorded |
| Contractor | Fume cupboards (Secondary Schools) | Annually | n/a | n/a | n/a |  |  |
| Contractor | Gas safety - all gas appliances located on site | Annually | Nov 2026 | 26.11.25. | The Dodd Group |  | Regulation (36)(1) of the Gas Safety (Installation and Use) Regs 1998 |
| Contractor | Gas safety - boilers & heating plant comprehensive maintenance | Annually | March 2027 | 16.3.26. | The Dodd Group |  |  |
| Contractor | Gas safety - pressure systems gas safety - pressure vessels. A thorough examination by a competent person. | Annually | March 2027 | 16.3.26. | The Dodd Group |  | Pressure Equipment Regulations 1999 & Pressure Systems Safety Regulations 2000. Please see INDG261 https://www.hse.gov.uk/pubns/indg261.pdf And L122 Safety of pressure systems - L122 (hse.gov.uk) from the HSE |
| Contractor | Gas safety - soundness/tightness | 5 years | Nov 2030 | 23.11.25 | The Dodd Group |  | System is purged to check there are no leaks |
| Contractor | Gates and barriers (Fixed) | Annually | Sept 2026 | 2.9.25 | Triad |  | BS EN 1176 |
| Caretaker | Gates and barriers (Fixed) | Weekly | Ongoing | 20.4.26. | N. Borges |  |  |
| Contractor | Grounds maintenance | Termly | Ongoing | Ongoing | Ian Marshall |  | Fortnightly/Monthly over Winter |
| Contractor | Intruder alarm | Annually | Dec 2026 | 11.12.25. | Totally Local Company |  |  |
| Contractor | Kitchen - catering LEV inspection and cleaning | Annually | Feb 2027 | 2.2.26. | Impact Hygiene |  |  |
| Contractor | Kitchen extraction | Annually | Nov 2026 | 26.11.25. | The Dodd Group |  |  |
| Contractor | Kitchen - inspection of kitchen equipment (mixers, and fixed equipment) | Annually | Nov 2026 | 26.11.25. | The Dodd Group |  |  |
| Contractor | Legionella - up to date risk assessment and written scheme | Biennially | January 2028 | 2.1.26. | AEC |  | Review required if any significant changes to the HWS layout/operation |
| Contractor | Legionella anti scald | Monthly | May 2026 | 22.4.26. | AEC |  |  |
| Caretaker | Legionella management weekly flushing of little used outlets | Weekly | Ongoing | 20.4.26. | N. Borges |  |  |
| Caretaker | Legionella management weekly outlet temperature checks | Weekly | Ongoing | 20.4.26. | N. Borges |  | Temperature must be between 50-60 °C after running for 1 minute |
| Contractor | Local Extraction and Ventilation (LEV) systems (Secondary Schools) | Annually | n/a | n/a | n/a |  |  |
| Headteacher | Lockdown - test of procedures and policy | Bi-annual | May 2026 | 17.9.25. | A. Buckley |  |  |
| Contractor | LOLER - hoists and lifting equipment | Bi-annual | n/a | n/a | n/a |  | There are currently no children or staff on site who require hoists or slings. |
| Contractor | LOLER – passenger Lift Inspection | Bi-annual | n/a | n/a | n/a |  |  |
| Contractor | PE Equipment | Annually | Sept 2026 | 2.9.25. | Sportsafe |  |  |
| Contractor | Pest Control – Reactive Contract | As required |  |  |  |  | As and when required |
| Caretaker | Pest Control | Weekly | Ongoing | 20.4.26. | N. Borges |  | Visual checks |
| Caretaker | Playground equipment | Monthly | Ongoing | 20.4.26. | N. Borges |  |  |
| Contractor | Playground equipment | Annually | Sept 2026 | 2.9.25. | Sportsafe |  |  |
| Contractor | Roller shutters annual maintenance | Annually | Dec 2026 | 1.12.25. | Door Care and Security |  |  |
| Caretaker | Dining table maintenance and seating visual inspections including deep cleaning of the units | Weekly | Ongoing | 20.4.26. | N. Borges |  |  |
| Headteacher and SBM | Site specific risk assessments - 3 examples | Annually | March 2027 | 6.3.26. | Z. Perkins and A. Buckley |  | Best practice to review each year/record any changes |
| Contractor | Stage lighting and rigging & AV Systems | Annually | Feb 2027 | 17.2.26. | Torpedo |  |  |
| Contractor | Tree inspections | Biennially | Jan 2027 | 10.1.26. | Ian Marshall |  | Ongoing tree remedials are undertaken on a regular basis due to the amount of trees on site. |

10.7	Physical Inspection – Observations and Recommendations

|  | Location | Defect | Remedy | Time Frame |
| --- | --- | --- | --- | --- |
| 1 | In the School | Ongoing Leak | Pipeline due in school on 24.4.26 to look for the leak | Ongoing |
| 2 | Corridor | Hooks housing coats and bags. Fire Assessor had advised the school that lockers were required. | The Auditor looked at this issue and advised the school that with the corridors being large and having safe access and egress that they should monitor the situation. | Ongoing. |
| 3 | Fields at the back of the school | Possible planning for new homes being built which would be detrimental to the school due to safeguarding and security. | The school were not consulted relating to this planning and were advised by a local resident that planning permission was being sought for the building, of a large amount, of new homes. | Ongoing. |

Guidance to school

On reviewing this audit and inspection report, the Head teacher should report to the appropriate committee, which can in-turn report to the school’s governing body.

Referencing the recommendations, the school’s leadership team should put together a prioritised action plan to rectify the identified deficiencies. The plan should set out clear actions, identify task completers and associate target timescales.

Support and guidance are available from the Council’s Health, Safety and Wellbeing team where needed.  HRSafety&HealthTeam@stockport.gov.uk

Executive Summary

The school is very well presented and well-maintained with all persons on site being respectful to each other and property.

There was safe access, and egress throughout the setting and all areas were very clean, along with being neat and tidy. Natural ventilation is provided through opening windows throughout the premises.

All classrooms were spacious with excellent display boards and children were enjoying their lessons and were listening intently to teaching staff.  All areas were also very well-resourced with many items to access.

The hall is very large and well-maintained.  The reception class houses many resources including a lovely space themed area full of space equipment and clothing.  The construction zone had sandpits and, toy building bricks to use.  There was also a large mud kitchen in place.  Balance bikes were in use during the audit, and the children wore helmets and hi viz vests whilst using them. Bike Ability is also carried out on site.  Storage sheds provide a good place for items to be stored appropriately.

Impact areas were in place throughout the setting with sensory themed colours for a calm and serene experience.

The library still looks like new and housed many lovely books and other resources.  Above the library there is a meeting room which is also used by teaching staff to carry out their PPA.

The staff room housed a health and safety notice board along with a safeguarding and a wellbeing board for staff.  Seating and tables were housed in this area for staff to sit and eat in comfort.

Externally there are some lovely areas that include a play area, and a large playing field which is used by Kickstart who come into school to carry out a sports week with the children. The trees are well-maintained and were in full blossom.

The school has benefitted from having new posts and bollards installed which enhances their security and safeguarding.

The Education Visits Co-ordinator is the headteacher A. Buckley.

The Education Visits Lead is Caroline Astall.

SLT and their team have a very strong and robust relationship which shows throughout the school.

| Inspection and Audit Action Plan 2026 |  |  |  |
| --- | --- | --- | --- |
| Item |  | Time Frame | Date Completed |
| COSH Assessments | COSHH Assessments are not currently in place, which are required by the Fire Service. The school are currently working on the completion of COSHH Assessments to go alongside the current safety data sheets. | 4 weeks. |  |
| Leaking pipe | Ongoing Leak from the last 2/3 years. Pipeline due in school on 24.4.26 to look for the leak. | Ongoing. |  |
| Corridors | Hooks housing coats and bags. Fire Assessor had advised the school that lockers were required. The Auditor looked at this issue and advised the school that with the corridors being large and having safe access and egress that they should monitor the situation. | Ongoing. |  |
| Rear Fields | Possible planning for new homes being built which would be detrimental to the school due to safeguarding and security. The school were not consulted relating to this planning and were advised by a local resident that planning permission was being sought for the building, of a large amount, of new homes. The school and the Auditor will monitor this planning. | Ongoing. |  |