

**HSW**

**&**

**HEALTH, SAFETY**

**& WELLBEING**

Stockport Metropolitan Borough Council

Health, Safety & Wellbeing Department

Stopford House

Piccadilly

Stockport

SK1 3XE

Safety Management System (HSG65)

Audit and Premises

Inspection Report

2025-2026

Torkington Primary

|  |
| --- |
|  |
| Document Control |
|  |

|  |  |
| --- | --- |
| **Audit & Inspection of:**  | Torkington Primary SchoolTorkington RoadHazel GroveStockport Metropolitan Borough Council SK7 6NR |
| **Audit & Inspection by:** | Sue Pullan from SMBC and Zara Perkins from the school |
| **Audit & Inspection date:** | 29th April 2025 |
| **Reference:** | HSW/A&IR/009/SP/2025 |

|  |
| --- |
| **DOCUMENT DETAILS** |
| **Document Title:**  | Safety Management System Audit and Inspection Report |
| **Document Owner(s):**  | Health, Safety and Wellbeing Team |
| **Version Number:**  | Version 1.0  |
| **Document Status:**  | Live |
| **Document Date:**  | 30.4.25. |

|  |
| --- |
| **REVISION HISTORY** |
| **Version** | **Status** | **Author** | **Date** | **Notes** |
| 1.0 | DRAFT |  |  |  |
| 2.0 | Live |  | 30.4.25. | Report sent to the school.  |

|  |
| --- |
| **SCHOOL SIGNATURES – To be signed off post audit** |
| The OSHW arrangements are reviewed annually to ensure that policies and procedures documented remain up to date and relevant. |
| **Head Teacher signature:** |  | **Date:** |
| **Head of Governors signature:** |  | **Date:** |

|  |
| --- |
|  |
| Contents |
|  |

[1. Document Control 1](#_Toc132795227)

[2. Contents 2](#_Toc132795228)

[3. Disclaimer 3](#_Toc132795229)

[4. Introduction 3](#_Toc132795230)

[5. Acknowledgements 3](#_Toc132795231)

[6. Background 4](#_Toc132795232)

[7. Aims and objectives 4](#_Toc132795233)

[8. Methodology 4](#_Toc132795234)

[9. Findings of the Audit 5](#_Toc132795235)

[10.1 Policies, Procedures, Risk Assessments, Safe Systems of Work and Communication 5](#_Toc132795236)

[Occupational Health Safety and Welfare (OHSW) Policy 5](#_Toc132795237)

[Risk Assessments 6](#_Toc132795238)

[Safe Systems of Work (SSoW) 7](#_Toc132795239)

[Working at Height 8](#_Toc132795240)

[Manual Handling 9](#_Toc132795241)

[Control of Substances Hazardous to Health (CoSHH) 10](#_Toc132795242)

[Dealing with Accidents, Incidents and Ill-Health and First Aid 12](#_Toc132795243)

[Communication, Consultation and Cooperation 14](#_Toc132795244)

[Business Continuity (Including Critical Incident Management and Lockdown) 15](#_Toc132795245)

[10.2 Buildings and Grounds 16](#_Toc132795246)

[Fire Safety Management 16](#_Toc132795247)

[Asbestos 18](#_Toc132795248)

[Legionella Risk Assessment 19](#_Toc132795249)

[Gas and Electrical Safety: Systems and Appliances 20](#_Toc132795250)

[Outdoor Play Equipment 20](#_Toc132795251)

[Contractors 20](#_Toc132795252)

[Pedestrian and Vehicular Movement 21](#_Toc132795253)

[Kitchen: Access 21](#_Toc132795254)

[Kitchen: Extractor Hoods 21](#_Toc132795255)

[Stage Lighting and Rigging 21](#_Toc132795256)

[Roller Shutters 22](#_Toc132795257)

[Gates and Barriers 22](#_Toc132795258)

[Air Conditioning Units 22](#_Toc132795259)

[LOLER Inspections 23](#_Toc132795260)

[10.3 High Risk Curriculum Areas and Staff Training 23](#_Toc132795261)

[Science 23](#_Toc132795262)

[Physical Education: Equipment 23](#_Toc132795263)

[Physical Education: Storage 23](#_Toc132795264)

[Design and Technology 23](#_Toc132795265)

[Health and Safety Training: Induction Training 24](#_Toc132795266)

[General health and safety training 25](#_Toc132795267)

[10.4 Performance Monitoring and Measurement 26](#_Toc132795268)

[Active Monitoring 26](#_Toc132795269)

[Reactive Monitoring 26](#_Toc132795270)

[10.5 Audit 27](#_Toc132795271)

[Auditing and Reviewing the OHSWMS 27](#_Toc132795272)

[10.6 Statutory Compliance Checklist 28](#_Toc132795273)

[10.7 Physical Inspection – Observations and Recommendations 31](#_Toc132795274)

[10. Guidance to school 32](#_Toc132795275)

[11. Executive Summary 32](#_Toc132795276)

[12. Inspection and Audit Action Plan 33](#_Toc132795277)

Disclaimer

 Every effort has been made to ensure that all statements and information offered in this report are accurate and true and are related to or qualified by observations made during the audit and inspection, together with information supplied by the school.

 In the time available, the audit did not confirm every activity affecting the school, although every effort has been made to identify a realistic picture.

 This report only comments on the conditions observed, information supplied, and impressions gained at the time of the visit; it should not be taken as identifying all aspects of possible unsafe conditions and/or contravention of statutory requirements.

 The accuracy of this audit report rests on the representations made by the school being honest and truthful. The organisation must therefore notify Stockport Metropolitan Borough Council (SMBC) of any factual inaccuracies or misinterpretations of information provided by the organisation as reflected in this report.

 **NB: Please note that this audit and inspection report represents a snapshot in time completed by an individual SMBC Audit Officer. Due to differences in knowledge, experience, and skills consequently officers will not always the same faults or issues.**

Introduction

 As part of Stockport Metropolitan Borough Council’s Occupational Health, Safety, and Welfare (OHSW) monitoring process, your school has recently been through an OHSW audit and inspection.

 The audit was conducted by reviewing the school’s health and safety documentation and procedures. This was accompanied by an inspection or tour of the site and associated buildings.

 The audit and inspection are tools used to determine the effective implementation of the school’s OHSW standards. This report has been prepared to identify the strengths and weaknesses in your Occupational Health, Safety, and Welfare Management System (OHSWMS). It provides recommendations for consideration, giving a basis from which continuous improvements to the standards of health, safety, and welfare can be made.

 The purpose of this report is to provide the school’s leadership team and governing body with an assessment of the effectiveness of the school’s health and safety management provisions. Although it would also be useful to share the report with staff and parents/carers as part of the school’s ongoing engagement with health, safety, and welfare issues.

 The report serves to highlight strengths and describe weaknesses in the school’s management of occupational safety, health, and welfare and recommends solutions and timeframes for resolutions where deficiencies and issues are identified.

 The report focuses on areas of significant quality management and highlights areas that require improvement. It is felt that this qualitative approach will help schools grow stronger in the four management categories of plan, do, check, and act, which form the basis of the SMBC OHSWMS.

Acknowledgements

 The auditor would like to place on record thanks to all staff who gave their time and assisted with the audit process.

 Thanks go to Zara, Andy, and Nuno for, their precious time and hospitality at the audit.

Background

 According to both the school’s and the authority’s records, this is the 9th formal audit and inspection of the school’s OHSWMS since these audits began in 2015.

Aims and objectives

 The primary aim of this audit and inspection is to provide an external and independent assessment of the OHSWMS and arrangements developed by the school and the effectiveness of their implementation.

Methodology

The audit and inspection were carried out in two parts:

1. A desktop audit of the school’s health and safety management system.
2. A physical inspection of the school’s premises.

During both activities, the auditor gathered evidence of the school’s approach to safety management by:

1. Comprehensively reviewing safety management documents to check for: suitability and sufficiency and regular review and revision
2. Asking questions of key staff to check for an awareness and understanding of workplace health, safety, and wellbeing provisions
3. Touring the workplace to check for a clean, tidy, healthy, and safe work environment and to observe work processes and safe systems of work to see whether procedures are followed and ensure that appropriate measures are in place to control hazards and mitigate risk.
4. The audit and inspection have five distinct components:
5. Policies, procedures, risk assessments, safe systems of work and communication
6. Buildings, facilities, and grounds
7. High risk curriculum areas (e.g., PE and forest schools) and staff training
8. Performance monitoring and measurement
9. Audit

The results from the above components combine to produce the inspection and audit action plan.

Findings of the Audit

10.1 Policies, Procedures, Risk Assessments, Safe Systems of Work and Communication

|  |  |
| --- | --- |
| Occupational Health Safety and Welfare (OHSW) Policy | **What we found during the audit** |
| To comply with the law, the school should have an OHSW (Occupational Health, Safety, and Welfare) plan that makes clear the organisational structure and arrangements for managing health, safety, and welfare.The OHSW policy should describe in detail the responsibilities and expectations of workers and managers, making it clear that performance will be monitored and people held accountable. | The Health and Safety Policy was dated January 2025 and entailed all appropriate information.  |
| **BEST PRACTICE:**The OHSW policy should inform staff, on a practical level, of how they are expected to fulfil specific duties in accordance with the “school procedures and rules”. The OSHW policy should be amended, therefore, when a significant change occurs, for example changes in workplace practices and procedures |
| **WHAT THE LAW SAYS:**The OHSW policy should be consulted on with staff and Union representatives where possible and once it has been signed off by governors, it must be effectively communicated to all staff. This could be done for example, by letting the staff know that it is available on the shared drive or staff health and safety notice board.  |
| **LEGAL REFERENCE(S)****The Health and Safety at Work Act 1974, Section 2 (3)**‘it shall be the duty of every employer to prepare and as often as may be appropriate revise a written statement of… general policy… and to bring the statement and any revision of it to the notice of all employees.’Furthermore, **Section 2 (6)** outlines “the duty of every employer to consult on any such arrangements with a view to the making and maintenance of arrangements…” |
| **FURTHER INFORMATION:**It is recommended that the OSHW arrangements be reviewed annually to ensure that procedures documented remain up to date and relevant. **Following this review the Head Teacher and Chair of Governors must sign the policy.** |

|  |  |
| --- | --- |
| Risk Assessments  | **What we found during the audit** |
| To comply with the law, all significant risks must be identified, and a well-developed system for identifying hazards and evaluating risks relating to worker safety and health should be in place.Preventative and protective measures must be in operation, and the hierarchy of controls must always be observed. Site-specific, generic, and risk assessments for trips must be in place, and there must be evidence that these are reviewed on a regular basis and that they give an accurate reflection of the risks and the control measures in place at the school. | Risk Assessments were dated 13.2.25 and, all areas had detailed risk assessments for the appropriate activities and tasks. Risk Assessments are reviewed on an annual basis. |
| Examples of Risk assessments that should be completed are: Bees and hives – April 2025. Electrical SafetyOpening and closing siteSnow clearance and iceLitter bin emptying/litter picking/leaf clearingClimbing FrameStudent food preparation areasLone WorkingManual HandlingCOSHH – Individual COSHH Assessments require undertaking prior to the end of May 2025.Use of ladders and erection of children’s display workContractorsPhotocopierPond – 18.3.25.Slips, Trips, and FallsUse of Apiary and Bees – April 2025Use of OxygenUse of Power ToolsVehicle MovementsWitches CauldronsThis list is not exhaustive |
| **BEST PRACTICE:**Examples of suitable and sufficient risk assessments are available from the Health, Safety and Wellbeing team on request. These are meant as guides only and provide a good indication of the hazards found in most schools. Any specific risk assessment MUST be modified to accurately reflect the hazards found in your own school and the control measures that you have in place.  |
| **WHAT THE LAW SAYS:**There is a legal obligation to record the control measures in place, and as such, care should be taken to ensure that risk assessments are relevant, in every detail, to the activity or area being assessed. Written risk assessments and the associated control measures must be reviewed regularly. SMBC recommends that this is done annually or if there has been a significant change to working operations or practices.It is a legal requirement for every employer to assess the health and safety risks arising out of their work under regulation 3 of the Management of Health and Safety at Work Regulations 1999.This means to assess the significant risks and to put into place suitable and sufficient control measures. In addition, there is a requirement to consult staff in this process and effectively communicate the findings of these assessments to them. Once in place, the risk assessments must be monitored and reviewed to ensure that they remain relevant. Risk assessments must be reviewed regularly, following an accident, and to reflect changes within the school, e.g. the introduction of new equipment, substance, change in policy/procedures, a change in legislation or advancement in technology, etc. Staff should be involved in this process. |

|  |  |
| --- | --- |
| Safe Systems of Work (SSoW) | **What we found during the audit** |
| To fully comply, a well-documented array of information should be maintained in the form of safe work systems and school operating procedures (for example, working at heights and opening and closing the school or academy).Comprehensive and robust arrangements should exist for prevention, preparedness, and response to accidents and incidents, and these must be regularly maintained and tested. There should be good awareness of the arrangements amongst staff.Individual and specific events should be analysed, and where necessary SSoW have been put in place.Please contact the Health, Safety, and Wellbeing team if you need help developing your SSoW. | The school have adequate safe systems of work in place, including the undertaking of accident/incident trend analysis which was available at the audit. Accidents are reported to SMBC via the online accident/incident reporting system. The school have a plethora of policies in place including an Oxygen Policy, A DSE user’s policy, along with the required health and safety policy, induction policy, and safeguarding policies.  |
| **WHAT THE LAW SAYS:****The Management of Health and Safety at Work Regulations 1999, Regulation 3 (4)**‘Any assessment such as is referred to in paragraph (1) or (2) shall be reviewed by the employer or self-employed person who made it if a) there is reason to suspect that it is no longer valid; or b) there has been a significant change in the matters to which it relates; and whereas a result of any such review changes to an assessment are required, the employer or self-employed person concerned shall make them**The Health and Safety at Work Act 1974, Section 2 (2) (a)**An employer has the duty for ‘…the provision and maintenance of plant and systems of work that are, so far as is reasonably practicable, safe and without risks to health…**The Management of Health and Safety at Work Regulations 1999, Regulation 8 (1)**‘Every employer shall a) Establish and where necessary give effect to appropriate procedures to be followed in the event of serious and imminent danger to persons at work in his undertaking…” |

|  |  |
| --- | --- |
| Working at Height | **What we found during the audit** |
| To comply, a robust policy (using the hierarchy of control: avoid, prevent, and minimise) must exist for all workers working from heights. All ladder work lasting less than 30 minutes must be competency-based, and risk assessed.Any activity that lasts longer than 30 minutes must have a full and considered risk assessment. Caretaker’s ladders should be subject to a six-monthly visual and recorded inspection by the caretaker.Duty holders (head teachers) must do all that is reasonably practical to prevent anyone falling from heights or from a level surface to a depth, which are liable to cause injury.The key responsibilities of the Duty Holder are to ensure that:* All work at height is properly planned and organised.
* The place where work at height is carried out is safe.
* The equipment for work at height is appropriately inspected and maintained.
* All work at height is carried out in a safe manner, using appropriate work equipment.
* All persons involved in working at height are suitably trained, competent, and are supervised appropriately.
* Supervision should be carried out by a competent person.
* The risks arising from fragile surfaces are properly controlled.

The risks arising from falling objects are properly controlled. | The Site Supervisor does not access the roof at any time.Contractors are procured to carry out any working at height on roofs.Teaching staff use an elephant stool to install displays on the wall.Ladder inspections take place on a quarterly basis and are checked prior to use. A Working at Height Risk Assessment was dated 13.2.25 for the erection of display work.  |
| **FURTHER INFORMATION**:A copy of the SMBC Guidance for Working at Height Policy is available from the Health, Safety and Wellbeing Team. **HRSafety&HealthTeam@stockport.gov.uk**  |

|  |  |
| --- | --- |
| Manual Handling | **What we found during the audit** |
| All significant examples of manual handling must be risk assessed, and these risks assessments regularly reviewed. Staff who require training have been identified and receive training and instruction. SMBC adheres to the **SMART** approach to lifting:**S**ize up that load:* Assess the load (shape, size, and weight)
* Determine where the load needs to be moved and placed.
* Determine whether you can carry the load/whether a mechanical aid should be used.

**M**ove the load as close to the body as possible.* Carry the load as close to the body as possible.
* Secure your grip.

**A**lways bend your knees* Keep feet apart in a comfortable position (usually in line with hips)
* Minimise lower back bending.
* Bend knees (squat or semi-squat position)

**R**aise the load with your legs.* Lift the load with your legs, not your back, in a smooth motion (avoid twisting or jerky movements)
* Maintain normal curvature of the spine.

**T**urn your feet in the direction you want to move.* Change direction by pointing your feet and not twisting your back.
* To set the load down, squat down, keep your head up and allow your legs to carry the weight.
 | Manual handling training has been undertaken by key staff and a risk assessment was in place dated 13.2.25.The Site Manager Health and Safety Awareness Training covers manual handling within the package. The Caretaker attended this training in 2024. Storage areas house triangle warning signs which state that staff are to be careful when handling items and to ensure that they do not lift heavy items.Items that are used on a regular basis are stored at lower level.  |

Please note that manual handling training is provided by the Health, Safety and Wellbeing Team at SMBC and can be booked through SLA Online; <https://secure2.sla-online.co.uk/SelectPortal.aspx>

|  |  |
| --- | --- |
| Control of Substances Hazardous to Health (CoSHH)  | **What we found during the audit** |
| To fully comply product safety data sheets should be obtained from the manufacturer for every substance used at the school. COSHH risk assessments must be completed for all products used in the school and available for inspection in the Fire information file for the Fire and Rescue Service which is kept in the main office. A copy of COSHH risk assessment should also be kept in the caretakers/site manager’s office with the associated product for ease of access especially during emergency situations.COSHH risk assessments should be completed for substances used in the following departments: * Site supervisor
* Kitchen
* Laboratory’s
* Technical workshops

This list is not exhaustive.**Chemical Storage** To fully comply hazardous substances must be stored correctly. Hazardous substances should be kept to a minimum and always replaced with less harmful products where possible.Flammable substances must be kept securely in a fire-retardant cupboard with suitable ventilation and away from ignition sources. Steps must be taken to ensure appropriate separation of hazardous substances to guard against accidental mixing. Pupils must not be granted unsupervised access to hazardous substances at any time.  | A COSHH Inventory is in place to go alongside Safety Data Sheets. COSHH Assessments need to be undertaken for all cleaning products including WD40, body sprays, suncreams etc. Some suncreams contain almond oil, which, if a child or staff member had a nut allergy could be dangerous and cause the child or staff member to become very ill. COSHH items storage, was very good, most products are kept within a stell cabinet that is kept locked and is in a restricted area, where children cannot access it. The Cleaning Cupboard was, very neat, and had easy access and egress. The hoovers are kept in a separate newly built integrated cupboard. The Caretaker’s Room was very neat and tidy along with having safe access and egress.  |
| If a container shows a warning symbol (see examples below), you must assess the risks to users. |
| **WHAT THE LAW SAYS:** The Control of Substances Hazardous to Health (COSHH) Regulations stipulates that employers must: * assess the risks to health from chemicals and decide what controls are needed.
* use those controls and make sure workers use them.
* make sure the controls are working properly.
* inform workers about the risks to their health; provide training for employees.

Safety data sheets and/or COSHH risk assessments should be made available for users of hazardous substances.The Dangerous Substances and Explosive Atmospheres Regulations, 2002 require that flammable and highly flammable substances be controlled. These include petrol, LPG, solvent-based paints, varnishes, and some types of dust. |

|  |
| --- |
| **BEST PRACTICE:**Butane (blue cylinders) and propane (red cylinders) both of which can be used for running domestic type Barbecues, used at school fairs/fetes should not be stored on school premises. Any solvent-based products should be stored in lockable metal containers |
| **FURTHER INFORMATION:**Regarding the control of hazardous substances can be obtained from [www.hse.gov.uk/COSHH/index.htm](http://www.hse.gov.uk/COSHH/index.htm) and a COSHH assessment tool is available from [www.coshh-essentials.org.uk.](http://www.coshh-essentials.org.uk/) Help and advice is also available from the Health, Safety and Wellbeing team at the Council:**HRSafety&HealthTeam@stockport.gov.uk** |

|  |  |
| --- | --- |
| Dealing with Accidents, Incidents and Ill-Health and First Aid | **What we found during the audit** |
| **ACCIDENT RECORDING:**The school should be using the SMBC portal below to report accident injuries and dangerous occurrences. <https://forms.stockport.gov.uk/accidents-and-incidents/what-are-you-reporting>and use the portal to report and record the more serious incidents and especially where incidents involve a “workplace activity”, school facilities or equipment. Cuts, grazes, and bumps should be managed appropriately via a locally held accident reporting system based at the school. | The school report accidents/incidents/near misses through the SMBC electronic reporting system. Accident records are kept in house for cuts, bumps, and grazes.  |
| **ACCIDENT REPORTING**Staff should be aware of the procedures for reporting incidents as required under the 'Reporting of injuries, diseases, and dangerous occurrences regulations (RIDDOR) and should be able to properly identify accidents and incidents which must be highlighted to the Health, Safety and Wellbeing Team at SMBC for reporting to the Health and Safety Executive. | Staff are aware that any RIDDOR Reportable accidents would be reported by the SMBC Health, Safety, and Wellbeing Team, with a copy of the RIDDOR Report sent to the school for their records.  |
| **ACCIDENT/INCIDENT INVESTIGATION AND MONITORING**The school should maintain a well-documented recording system to track and document accidents and incidents. The recording of information complies with the law and provides a basis for effective analysis. It is recommended that an overview of accidents/incidents be regularly provided to the Head Teacher and Governing body so that trends can be monitored.  | Accident trend analysis is in place and was shown to the auditor at the audit. Accident investigations are undertaken after any serious accident.  |
| **FIRST AID PROVISION (Including early years up to 5 years old where applicable)**In, order to comply, the school must provide well-resourced first aid arrangements in terms of trained personnel and equipment. It is a requirement of the statutory framework that a paediatric first aider is always on school premises when children are present (and at least one person with paediatric first aid on outings) | The school has 8 staff trained in first aid. A paediatric trained first aider would go on any trips or visits, including residentials. First aid posters were located throughout the school site.  |
| **FIRST AID RECORDS**In addition to recording more serious incidents, minor injuries and any first aid treatment given is locally recorded. During the audit, evidence was produced to show that any first aid treatment given is properly recorded.  | First Aid treatment and medication are dealt with in an appropriate manner, and this was in place during the audit. Appropriate medication records are kept.  |
| **ADMINISTRATION OF MEDICINES**The school must have procedures in place to support pupils with health and medical needs. These include a written parental request form, a monitoring system and secure storage for medicines. Staff should be designated to administer medical care as and when required, ensuring each dosage is properly logged to avoid an accidental overdose. | The school has a robust administration of medicines policy and procedures in place which were available to the auditor at the audit.  |
| **BEST PRACTICE:**The Information Management Toolkit for Schools (IRMS) is designed as guidance and sets out certain requirements for the keeping of records.* For accidents involving adults in schools, it is the date of the accident + 6 years.
* For accidents involving pupils it is the Date of Birth + 25 years
* Records relating to serious accidents and injury should be kept for date of incident + 12 years.
 |
| **WHAT THE LAW SAYS:** **The Management of Health and Safety at Work Regulations 1999, Regulation 8 (1)**‘Every employer shall— Establish and where necessary give effect to appropriate procedures to be followed in the event of serious and imminent danger to persons at work in his undertaking…’**The Health and Safety (First Aid) Regulations 1981, Regulation 3**‘(1) An employer shall provide, or ensure that there are provided, such equipment and facilities as are adequate and appropriate in the circumstances for enabling first-aid to be rendered to his employees if they are injured or become ill at work. (2) Subject to paragraphs (3) and (4), an employer shall provide, or ensure that there is provided, such number of suitable persons as is adequate and appropriate in the circumstances for rendering first-aid to his employees if they are injured or become ill at work; and for this purpose ,a person shall not be suitable unless he has undergone:a) such training and has such qualification as the Health and Safety Executive may approve for the time being in respect of that case or class of case, andb) such additional training, if any, as may be appropriate in the circumstances of that case.’**The Social Security (Claims and Payments) Regulations 1979, Regulations 25 (3)**‘…every employer by whom 10 or more people are normally employed… shall, subject to the following provisions of this paragraph –Keep readily accessible a book… in which the appropriate particulars… of any accident- causing personal injury to a person employed by the employer… |

|  |  |
| --- | --- |
| Communication, Consultation and Cooperation  | **What we found during the audit** |
| Communication, consultation, and cooperation are all essential elements of a robust health and safety ethos and are a legal requirement under the Management of Health and Safety at Work Regulations 1999.Staff should be provided with health and safety information and be able to raise any health and safety concerns directly to the head, the site manager or caretaker, and their line manager.Additional health, safety, and wellbeing information should be provided to staff by the staff handbook, the health, safety, and wellbeing notice board, and regular items on staff and governors meetings. | The staff can access health and safety information electronically, or through a notice board located in the staff room area. Staff have completed the basic health and safety training course on SMBC’s Learning Pool. The Manager’s Health and Safety Training is now available on SMBC Learning Pool for staff who are responsible for health and safety. An Employee Handbook is also in place.Health and Safety is a standing agenda item at meetings. Health and Safety is discussed at the Resources Committee Governor Meetings along with being discussed at Full Governors Meetings. The next Full Governor Meeting is scheduled for June 2025. |
| **BEST PRACTICE:**Good communication of health and safety can be achieved, by a number, of ways. Staff can be provided with health and safety information through: * Staff meetings
* Departmental meetings
* Health and safety committees
* Leadership groups

There should be a clearly defined route through which staff can express health and safety concerns. Staff should feel confident that their concerns are dealt with and so ideally such suggestions should be recorded.  The staff handbook is a useful way to communicate health and safety procedures. This could be located on the staff shared drive and should include information on how staff can report health and safety concerns, how staff should report defects, risk assessments, emergency procedures, accident reporting and how staff can access health and safety related policies and procedures.**ISO45001 Clauses 7.4.1 to 7.4.3**“The organisation must establish, implement and maintain a process or processes for internal and external communications relevant to the OH&S management system, which provides for the gathering, updating and dissemination of information and which encompasses the following: What topics to communicate on, when to communicate, with whom to communicate, how to communicate”. It is, therefore, a legal requirement to consult and communicate with employees in all aspects of health and safety provision within the school and is an essential element of creating a robust health and safety culture.Employers have a duty to consult with their employees, or their representatives, on health and safety matters. Union safety representatives or employee safety representatives can assist with this process as well as providing valuable guidance in health and safety matters. |
| **WHAT THE LAW SAYS:**It is a requirement that employers must consult all their employees on health and safety matters about: 1. the introduction of any measure which may substantially affect their health and safety, e.g., the introduction of new equipment or new systems of work.
2. the arrangements for getting competent people to help them comply with health and safety laws.
3. the risks that have been identified from risk assessments, the hazards and dangers employees will be exposed to, and the measures in place to reduce or remove the risks.
4. the planning and organisation of any health and safety training
5. the health and safety consequences of introducing new technology.
 |

|  |  |
| --- | --- |
| Business Continuity (Including Critical Incident Management and Lockdown) | **What we found during the audit** |
|  An emergency plan must be prepared so that staff are aware of the procedures to follow in a crisis. It is good practice to formally set out actions to be taken by designated staff during an emergency. The plan should cover minor incidents (e.g., heating breakdown, no water, etc.), when the school may have to close for a short time, and major incidents (e.g., fire, fatality, etc.), which may cause major disruption to the school. The emergency plan must include details of how the school will manage the dismissal of children and the collection arrangements for parents and carers.Consideration should be given to including the following in the plan:* How to respond efficiently during a crisis safeguarding pupils, staff, and visitors, this should name individuals and their roles during the situation.
* preventing an escalation of the situation
* Arrangements to temporarily relocate pupils if necessary.
* Contact details, e.g., emergency numbers, school services, critical incident response teams, etc.
* Emergency arrangements in case of an incident during an educational visit.

Once the emergency plan has been ratified by the governing body, it should be shared with all those with responsibilities so that they are aware of the procedures to follow in a crisis. SMBC are able, to provide advice in relation to emergency planning. For further details, contact samantha.jones@stockport.gov.uk The first step in preparing a lockdown policy is to be realistic about the risks to the school and its pupils, which will be linked to the ease of access into the school buildings. While terrorism has prompted schools to consider a lockdown procedure, different schools will identify different risks, and the likelihood of a negative event will vary. The risk may come from an intruder, an aggrieved parent, or an incident in the immediate vicinity of the school.A written lockdown plan must be in place and have been signed off on by the governors. The lockdown procedure should be tested at least twice per year, in order to ensure that staff and pupils are familiar with the requirements.The lockdown plan should include the notification process for a return to normal. Drills and practises should be recorded, and lessons learned should be observed and used to improve the plan when it is reviewed annually. | A sufficient Emergency Plan is in place. There is a stand- alone Childcare facility within the site, and they also follow the school’s lockdown, emergency planning, and critical incident procedures, where required.If the fire alarm were to go off within the main school, the stand-alone facility would also evacuate their building. It was recommended to the SBM that she procures copies of risk assessments and procedures from the stand -alone childcare facility.Lockdown tests are undertaken on an annual basis. |

10.2 Buildings and Grounds

|  |  |
| --- | --- |
| Fire Safety Management  | **What we found during the audit** |
| **FIRE RISK ASSESSMENT**The school must have an up-to-date fire risk assessment in place, which must be suitable and sufficient meaning that the main risks have been identified within the facilities. All actions must be worked through, and recommendations implemented. See table below for dates and provider.  | The latest Fire Risk Assessment was undertaken by Firesec on 22.11.21.Actions from the last Fire Risk Assessment had been worked through in 2024.The next Fire Risk Assessment will be procured for November 2025.  |
| **WHAT THE LAW SAYS:**Under The Regulatory Reform (Fire Safety) 2005 Order every premises with 5 or more employees must assess the risks from fire, record the findings and inform all staff of the outcome of the assessment. |
| **BEST PRACTICE:**It is recommended by SMBC that 4 years is the maximum period that should be left between Fire Risk Assessments. |
| **FIRE ALARM – TESTING AND MAINTENANCE BY A COMPETENT PERSON**The fire alarm must have serviced within the last 6 to 12 months and service records available to evidence this – see table below. | The Fire Alarm service is carried out twice yearly and is undertaken by Barlow’s. Please see stat compliance table.  |
| **EMERGENCY LIGHTING TESTING AND MAINTENANCE BY A COMPETENT PERSON**The emergency lighting must have been serviced within the last 6 to 12 months and service records available to evidence this. See table below. | The Emergency Lighting service was last undertaken by Barlow. Please see stat compliance table. |
| **FIRE-FIGHTING EQUIPMENT – SERVICE BY A COMPETENT PERSON** Fire-fighting equipment must have been serviced in the last 12 months and service records available to evidence this. See table below. | Walker Fire carry out the annual firefighting equipment service for the school. Please see stat compliance table.  |
| **CALL POINTS – CHECKS BY THE SCHOOL** A different call point should be tested weekly, and the results recorded. The Fire Authority will ask to see evidence that these tests are carried out when the school is inspected. Failure to produce written evidence could result in an improvement notice. It is an offence to falsify records. See table below. | The Site Supervisor carries out weekly random call point testing. This is documented in the Site Supervisor’s Weekly Checks Chart.  |
| **EMERGENCY LIGHTING – CHECKS BY THE SCHOOL**Emergency lights must be tested monthly. See table below. | The Site Supervisor carries out visually testing of the emergency lighting on a weekly basis.  |
| **WHAT THE LAW SAYS:**All emergency lights must be checked each month to ensure continued operation of all assets. Results should be recorded, and faults rectified immediately. |
| **MEANS OF ESCAPE – CHECKS BY THE SCHOOL** The school must check the facilities, equipment, and devices (e.g., fire exits, fire doors, exit routes) provided for fire safety on a weekly basis for damage, blockages, and ease of access. A written record of these checks should be kept. See table below. | The Site Supervisor carries out the weekly fire means of escape visual checks. If the Site Supervisor were to be off work, the SBM would carry out this task. Dynamic daily risk assessments are carried out during a walk around of the premises. Records of the walk around should be kept.  |
| **WHAT THE LAW SAYS:**It is a legal requirement to ensure that facilities, equipment, and devices provided for fire safety are checked on a weekly basis. For example, that emergency exit routes are not blocked, that final exit routes and stairwells are free from combustible material and that fire doors are in good working order. Regular checks must be included in an effective fire prevention monitoring routine. |
| **FIRE DRILLS**Timed emergency evacuation drills must be carried out each term and properly recorded. See table below. | Fire Drills take place on a termly basis and all areas of the site follow the school’s policies and procedures relating to fire drills.  |
| **BEST PRACTICE:**Guidance in relation to the display of pupil’s work in in accordance with the Fire and Regulatory Reform Order 2005 and as agreed by OFSTED, Chief Fire Officers Association and the Department for Education is available from the health, safety and wellbeing team on request. HRSafety&HealthTeam@stockport.gov.uk |

|  |  |
| --- | --- |
| Asbestos | **What we found during the audit** |
| An up-to-date management survey of Asbestos Containing Materials (ACMs) must be held by the school, and the risks associated with these ACMs must be assessed. The survey should be updated annually to reflect changes in circumstances and the condition of the asbestos. A plan must exist for the management of the asbestos in the school.Staff and visitors to the school (especially contractors) must be made aware of the location of any asbestos and understand the risks involved in any accidental disturbance. The management of asbestos must be kept under review and be reported to the governors at least annually or when any refurbishment work is due to take place in the school.There is a legal duty to ensure that:* Staff and contractors are made aware of the location and type of ACM.
* The state of the ACMs is monitored, and changes in condition are reported immediately.

The survey and risk register are updated following the removal of any ACMs by a competent person. | Stockport Homes have provided the school with an Asbestos Management Plan which was produced in September 2024. The latest Asbestos Re-inspection Survey was carried out through Stockport Homes on 26.11.24.The Asbestos Register is on the front desk, so that contractors who could be going into areas that have asbestos containing materials have been made aware of any possible asbestos.  |
| **WHAT THE LAW SAYS****The Control of Asbestos Regulations 2012** states: “The measures to be specified in the plan for managing the risk shall include adequate measures for1. monitoring the condition of any asbestos or any substance containing or suspected of containing asbestos.
2. ensuring any asbestos or any such substance is properly maintained or where necessary safely removed; and
3. ensuring that information about the location and condition of any asbestos or any such substance is:
	1. provided to every person liable to disturb it
	2. made available to the emergency services.”
 |

|  |  |
| --- | --- |
| Legionella Risk Assessment | **What we found during the audit** |
| It is a legal requirement to have up to date versions of the following two documents available for inspection on site at any time:1. A Legionella Risk Assessment (LRA)
2. A Written Scheme of Works (sometimes called a Written Scheme of Control)

These documents must have been completed by a competent person.Concerns raised in the risk assessment must have been addressed and the school should have received a prioritised list and explanation of what work is required and why.It is recommended that weekly temperature tests as recommended by the legionella risk assessment should be carried out by the site manager, who must have received the necessary training.Further advice is available on the management of Legionella from your service provider and via SLA on-line. | The latest Legionella Risk Assessment and Written Scheme of Work was carried out by Acorn Environmental on 5.1.24. Monthly water temperature testing is carried out through Acorn Environmental.The Site Supervisor carries out weekly temperature testing, and the results are documented within the weekly checklist. Weekly flushing of little used outlets is carried out by the Site Supervisor. Quarterly shower checks are undertaken by Acorn Environmental.  |
| **WHAT THE LAW SAYS:**Extracts below taken from L8 (Fourth edition) Published 2013*Legionella Risk Assessment*47. The record of the assessment is a living document that must be reviewed to ensure it remains up to date. Arrange to review the assessment regularly and specifically whenever there is reason to suspect it is no longer valid. An indication of when to review the assessment and what to consider should be recorded. This may result from, e.g.:(a) changes to the water system or its use(b) changes to the use of the building in which the water system is installed(c) the availability of new information about risks or control measures(d) the results of checks indicating that control measures are no longer effective(e) changes to key personnel(f) a case of legionnaires’ disease/legionellosis associated with the system*Written Scheme of Works*65. For precautions to remain effective, the condition and performance of the system will need to be monitored. The appointed responsible person should oversee and manage this. Or, where appropriate, an external contractor or an independent third party can do it. Management should involve:(a) checking the performance and operation of the system and its component parts(b) inspecting the accessible parts of the system for damage and signs of contamination(c) monitoring to ensure that the treatment regime continues to control to the required standard.66. The frequency and extent of routine monitoring will depend on the operating characteristics of the water system.***Advice should be taken from competent service providers on the frequency of the Risk Assessment and the Written Scheme of Control.*** |

|  |  |
| --- | --- |
| Gas and Electrical Safety: Systems and Appliances | **What we found during the audit** |
| **GAS SAFETY**Service records should be available to show that the gas boilers are serviced regularly, See table below. | The boilers form part of an annual inspection by The Dodd Group.  |
| **FIXED ELECTRICAL INSTALLATION** A competent person should have checked the fixed electrical installations within the last 5 years and documentation provided to evidence this. Failed installations and other C1 and C2 recommendations should have been acted upon. See table below. | The latest 5-year inspection was carried out on 7.9.23. |
| **PORTABLE ELECTRICAL APPLIANCES**The school has a suitable and sufficient PAT policy in place (including a risk assessment) and any equipment identified as high risk in this assessment has been tested. Further information and full suite of management documentation is available on SLA online. See table below. | PAT Testing is carried out by Bradbell. The last documented date was 16.9.24The Auditor sent the school the latest SMBC PAT Guidance after the Audit on 29.4.25. |

|  |  |
| --- | --- |
| Outdoor Play Equipment | **What we found during the audit**  |
| As part of best practice, a formal prior to use inspection of the playground equipment should be carried out daily by supervising staff. Monthly recorded inspections should be undertaken and recorded by a competent person (Site Supervisor) and records available to verify this. Additionally, an annual inspection by an insurance approved contractor should be carried out. Any issues raised should have been suitability dealt with. See table below.  | PE Equipment was last inspected in September 2024. |

|  |  |
| --- | --- |
| Contractors | **What we found during the audit**  |
| The school uses some contractors that have not come from an approved list. Care should be taken to ensure that contractors meet certain criteria including: * what experience they have in the type of work you want done.
* what their health and safety policies and practices are
* examples of their recent health and safety performance (number of accidents etc.)
* qualifications and skills
* their selection procedure for sub-contractors
* their safety method statements.
* health and safety training and supervision
* their arrangements for consulting their workforce.
* if they have any independent assessment of their competence
* if they are members of a relevant trade or professional body.

The school can then decide how much evidence needs to be sought in support of what prospective contractors have stated.  | The school procure their contractors through an accredited company Stockport Homes. The school use a local landscape gardener for their tree works and gardening.  |

|  |  |
| --- | --- |
| Pedestrian and Vehicular Movement | **What we found during the audit** |
| The school should look carefully at arrangements for drop off and pick up times and conduct a whole site-specific risk assessment where high risks are identified, and reactive measures taken to mitigate risk.Pedestrian walkways should be provided and clearly defined to ensure staff, pupils, parents, and visitors have a safe route into and out of the school building wherever possible.Pupil areas should be properly separated from car parks and other vehicle movement areas such as deliveries and refuse collection where practicable. | There is a vehicle and pedestrian risk assessment in place. The car park is sectioned off, and children access the site through a separate gate.  |

|  |  |
| --- | --- |
| Kitchen: Access | **What we found during the audit** |
| Because this is a high-risk area access to the kitchen should be secure and appropriate signage displayed to prevent unauthorised access.Any staff or visitors entering the food preparation area should wear appropriate Personal Protective Equipment such as slip resistant footwear.Hair must be tied back and covered with a hat to avoid contaminating food.  | The school kitchen is run by an external company Taylor Shaw.The school maintain the ovens, steamers, etc through annual inspections.  |

|  |  |
| --- | --- |
| Kitchen: Extractor Hoods | **What we found during the audit** |
| The extractor hoods should be cleaned and serviced on an annual basis, which is good practice. The school should ensure that the recommended system is cleaned and serviced to the standard in TR19 guidance. | The extractor hoods form part of an annual maintenance inspection.  |
| **BEST PRACTICE:**Extractor hoods and local exhaust ventilation systems should be cleaned and serviced by a competent person at least annually. |

|  |  |
| --- | --- |
| Stage Lighting and Rigging | **What we found during the audit** |
| Stage lighting electrical systems should be periodically inspected annually and have an Electrical Installation Condition Report (EICR) to demonstrate a compliant maintenance regime. Compliance with wiring regulations BS7671: 2008 is required and overhead static equipment such as fixed lighting bars, curtain tracks or other equipment must be inspected annually under the Provision and Use of Work Equipment Regulations 1998 (PUWER). Whilst Winched systems such as scenery bars and pulleys need to be tested annually under the Lifting Operations and Lifting Equipment Regulations 1998. PAT is also required annually of frequently moved lights/fittings. See table below. | The stage lighting is subjected to an annual inspection by Torpedo. The last documented service was in February 2025. As at the date of the audit the school are awaiting the report for this service. The Auditor will chase this with Stockport Homes after the audit.  |

|  |  |
| --- | --- |
| Roller Shutters | **What we found during the audit** |
| Design, manufacture, supply, and installation of roller shutters comes under Supply of Machinery (Safety) Regulations 2008 but there is no specific health and safety legal requirement dictating how often roller doors should be inspected or tested. SMBC recommends an annual safety and maintenance inspection under PUWER (1998) which requires that work equipment is safe to use on installation and maintained in safe condition for use. Also, regulation 5 of the Workplace (Health, Safety and Welfare Regulations),1992 states that any powered door needs to be “maintained in an efficient state…subject to a suitable system of maintenance”. See table below. | The roller shutters form part of an annual servicing programme. They were last inspected on 3.12.24 by Door Care and Security.  |
| **BEST PRACTICE:**BS standard EN 12635:2002 provides guidance on documentation, operation, use and maintenance including requirements for a logbook which should detail; operating instructions, maintenance and repair visits, details of work undertaken, details of changes/upgrades, name date and signature of responsible person |

|  |  |
| --- | --- |
| Gates and Barriers | **What we found during the audit** |
| The legal position is that powered gate systems are “machinery”. The Health and Safety Executive has lead responsibility for enforcement of this legislation, which has been transposed into UK law as the Supply of Machinery (Safety) Regulations .2008. The school should have suitable and sufficient gates and barriers providing adequate security for the school. All gates should be tested annually by a competent contractor: | Triad carry out an annual inspection of the gates and barriers. The last inspection took place on 1.8.24.The Site Supervisor carries out weekly checks on the gates and barriers. The Site Supervisor also carries out half-termly fencing checks which are documented on his checklist.  |
| **BEST PRACTICE:**Gates and fences in a primary school should as a minimum conform to BS EN 1176 and be RoSPA approved. |

|  |  |
| --- | --- |
| Air Conditioning Units | **What we found during the audit** |
| The school should have an annual maintenance regime in place with a registered air conditioning company. A full record of inspections and maintenance visits should be kept and available for inspection Units should be serviced annually.The school must check that units have been cleaned and serviced thoroughly. | Air Conditioning forms part of an annual maintenance programme that is procured through Stockport Homes.  |
| **BEST PRACTICE:**Regular servicing improves the efficiency of your air conditioner. Professional advice says that for every year of operation in which you do not service your air-conditioning it loses 5% of its efficiency. By law any cooling or heating systems with more than 3kg of ozone depleting substances including HCFCs and HFCs must be checked annually for leakage. F-Gas Regulations contain requirements for labelling, leak checking, record-keeping, and maintenance staff qualifications. All air conditioning systems with an effective combined rated output of more than 12kw must be regularly inspected by an energy assessor. The inspections must be no more than five years apart.  |

|  |  |
| --- | --- |
| LOLER Inspections | **What we found during the audit** |
| All lifting equipment within the school should be tested in line with the legislation every 6 months for equipment used for lifting of persons and 12 months for lifting equipment used for lifting of goods.A record should be kept of these tests. | **Not Applicable to this site.** |
| **WHAT THE LAW SAYS:**Lifting equipment within a school that lifts people including passenger lifts and hoists mechanical needs to be tested every 6 months as do lifting accessories, including slings, shackles, hooks, and chains. The inspected and testing is a requirement of the Lifting Operations and Lifting Regulations, 1998. |

10.3 High Risk Curriculum Areas and Staff Training

|  |  |
| --- | --- |
| Science | **What we found during the audit** |
| A full range of risk assessments must be in place and the department should comply with all CLEAPS requirements. Full guidance documents are available from HRSafety&HealthTeam@stockport.gov.uk | **Not Applicable to this site.** |

|  |  |
| --- | --- |
| Physical Education: Equipment | **What we found during the audit** |
| All PE equipment should be serviced annually by a competent person and recommendations made to rectify faults followed up. Service records should be available to evidence this. | PE Equipment forms part of an annual maintenance programme procured through Stockport HomesVisual inspections of the equipment are carried out by the Site Supervisor on a weekly basis.  |

|  |  |
| --- | --- |
| Physical Education: Storage | **What we found during the audit** |
| PE equipment must be properly stored so that staff and pupils can easily access it without causing injury. Mats must be stored appropriately and away from fire exits. Heavy equipment should be stored at lower levels. | The PE Storage requires a declutter as there are allocated areas for each item. During the audit items were strewn all over the place.  |

|  |  |
| --- | --- |
| Design and Technology | **What we found during the audit** |
| A full range of risk assessments must be in place and the department complies with all Design and Technology codes of best practice. | **Not Applicable to this site.** |
| **BEST PRACTICE:**It is recommended by SMBC that all CLEAPS documentation is read and understood by appropriate Heads of Department. |

|  |  |
| --- | --- |
| Health and Safety Training: Induction Training | **What we found during the audit** |
| New staff must receive health and safety information during their induction period. Induction training includes procedures for emergency evacuation, a copy of or access to the school’s health, safety and wellbeing policy, accident reporting procedure, location of asbestos containing material, how to report maintenance issues, etc.A formal record of the information given should be placed on staff’s personal records. Further guidance and information on what should be included in the training can be obtained from SLA Online. | The school have an up-to-date Induction Policy in place which was available at the audit. New staff receive a handbook and an induction, that includes health and safety.All key staff have undertaken basic health and safety training through Stockport Council Learning Pool. Key staff are advised to carry out the management health and safety training available on the SMBC Learning Pool.  |
| **WHAT THE LAW SAYS:**It is a legal requirement that all new staff receive health and safety induction training. Keeping induction training records enables the school to demonstrate that health and safety training has been given. It is recommended that a record of the health and safety induction information given be kept on employees’ personal files. **The Health and Safety at Work Act 1974, Section 2 (2) (c)**‘Without prejudice to the generality of an employer’s duty under the preceding subsection, the matters to which that duty extends include in particular—……The provision of such information, instruction, training, and supervision as is necessary to ensure, so far as is reasonably practicable, the health and safety at work of his employees…’**The Management of Health and Safety at Work Regulations 1999, Regulation 10**‘Every employer shall provide his employees with comprehensible and relevant information.’**The Management of Health and Safety at Work Regulations 1999, Regulation 13 (2)**‘Every employer shall ensure that his employees are provided with adequate health and safety training…on their being recruited into the employer’s undertaking; and on their being exposed to new or increased risks…” |

|  |  |
| --- | --- |
| General health and safety training | **What we found during the audit** |
| All staff must have received health and safety training relative to their role and responsibility, and this should be recorded in a training matrix and kept up to date by the School Business Manager/Training Coordinator.It is recommended that those dealing with health safety and wellbeing in schools receive training undertaken by IOSH called Managing Safely:[https://www.iosh.co.uk/managingsafely/#](https://www.iosh.co.uk/managingsafely/) | General health and safety training has been undertaken through the SMBC Learning Pool. The headteacher attends the annual school leaders training that is carried out by SMBC. Staff have undertaken positive behaviour training.  |
| **BEST PRACTICE:**IOSH Managing safely in schools: <https://www.iosh.com/training-and-skills/iosh-training-courses/managing-safely/>  |
| The Health and Safety at Work Act requires employers to "provide whatever information, instruction, training, and supervision as is necessary to ensure, so far as is reasonably practicable, the health and safety at work of your employees."This is expanded by the Management of Health and Safety at Work Regulations, which identify situations where health and safety training is particularly important, e.g., when people start work; because of being transferred or given a change of responsibilities; the introduction of new work equipment or a change to existing work equipment; and or where existing skills may have become rusty or need updating.You should assess the risks to employees while they are at work and to any other people who may be affected by the way the work is carried out. This will identify the required information, instruction, or training required to enable employees to carry out their work safely. Refresher training should also be provided as necessary.**WHAT THE LAW SAYS:**Appropriate training may include but are not limited to the following: Course: Requirement of: AttendeesFire safety awareness Regulatory Reform (Fire Safety) Order Leadership TeamFire warden training Regulatory Reform (Fire Safety) Order All staffWorking with hazardous substances CoSHH Regulations Site Supervisor/CleanersMoving and handling of pupils Manual Handling Regulations Site Supervisor/CleanersLadder / access equipment Working at Height Regulations Site Supervisors |

10.4 Performance Monitoring and Measurement

|  |  |
| --- | --- |
| Active Monitoring | **What we found during the audit** |
| Monitoring of the working environment and review of work systems, premises, plant, and equipment should be frequent and systematic.  | Monitoring of work equipment forms part of a robust health and safety ethos.  |
| The school should undertake health and safety walk around with the Health and Safety Governor, every term, which is attended by key people. A record should be kept of this walk around and an action plan drawn up and worked through in a prioritised fashion. | The last Health and Safety Governor Tour was undertaken on 11.3.25. |
| **WHAT THE LAW SAYS:****The Management of Health and Safety at Work Regulations 1999, Regulation 5**‘(1) Every employer shall make and give effect to such arrangements as are appropriate, having regard to the nature of his activities and the size of his undertaking, for the effective planning, auditee, control, monitoring and review of the preventive and protective measures. (2) Where the employer employs five or more employees, they shall record the arrangements referred to in paragraph (1).’ |

|  |  |
| --- | --- |
| Reactive Monitoring | **What we found during the audit** |
| Investigations should be conducted for all accidents and incidents. They should be proportionate to the event and look to identify root cause and corrective actions. NB: The school must contact the Health, Safety and WellbeingTeam in the event of a serious on-site accident and the team will offer support and may conduct an accident investigation. | The school have an accident trend analysis procedure in place. The school send accidents and incidents through to SMBC HSW via the online accident/incident reporting tool.  |
| **WHAT THE LAW SAYS:****The Social Security (Claims and Payments) Regulations 1979, Regulations 25 (1)**‘Every employer shall take reasonable steps to investigate the circumstances of every accident of which notice is given to him…’ |

10.5 Audit

|  |  |
| --- | --- |
| Auditing and Reviewing the OHSWMS | **What we found during the audit** |
| Internal termly walk round inspections of the OHSWMS should take place in the form of documented site inspections and formulated action plans, which are reviewed to ensure that corrective action is taken where necessary.A key part of this process is the annual review of the Health, Safety, and Wellbeing policy and ***associated procedures and assessments*** to ensure that these are current and specific to the school. | Internal safety tours take place on a termly basis. Records are kept from the tours.Daily walk around’s, of the site and carried out.  |
| An external annual audit and inspection of the OHSWMS should take place. This may be completed by SMBC. The audit will recommend improvements to Health, safety, and Wellbeing practices and give timeframes for implementation.Previous recommendations should have been adopted by the school within the time frames, in order, for continuous improvement to be shown. | SMBC carry out an annual health and safety audit of the setting. The school address any actions that they receive after their audit in a timely manner. |
| **WHAT THE LAW SAYS:****The Management of Health and Safety at Work Regulations 1999, Regulation 5**‘Every employer shall make and give effect to such arrangements as are appropriate, having regard to the nature of his activities and the size of his undertaking, for the effective planning, auditing, control, monitoring, and review of the preventive and protective measures. |
| Management reviews should be systematically undertaken by the Head teacher and School Business Manager. They should consider Health, Safety, and Wellbeing performance indicators such as number of accidents, location of accidents and trend analysis. There should also be evidence that audit findings, School improvement plans, are reviewed and prioritised by the Head teacher and Board of Governors.  | The school have a system in place where SLT meet regularly and discuss health and safety. Records are kept of all safety tours and meetings with governors take place regularly relating to health and safety. SLT and their staff have a good relationship which ensures that they all work well together.  |

10.6 Statutory Compliance Checklist

| **Compliance Activities Within: School Name** |
| --- |
| Responsible Person | Activity | Frequency | Planned Date | Completed Date | Completed by (Name of contractor/ site supervisor) | RAG | Notes |
| Contractor | Air Conditioning Servicing | Annually |  |  |  |  | Air conditioning is not currently in use as at 29.4.25. |
| Headteacher | Asbestos management - annual management report | Annually |  | 26.11.24. |  |  | Stockport Homes prepared this document. |
| Contractor | Asbestos management - specific surveys prior to intrusive works | As required |  | 11.7.23. |  |  | AEC carried out a Re-inspection Survey. |
| School Staff | Asbestos Register for contractors to sign if they are going into areas that may have asbestos containing materials (ACM’s) in them | As and when required |  |  |  |  | Contractors have easy access to sign the asbestos register if they are going into areas that may contain ACM’s. |
| SBM | Beehive inspections | Weekly |  | 28.4.25. | SBM |  |  |
| Teaching Staff | Classroom Checklists for Health and Safety within the Classrooms | Annually |  | Feb 2024 | Teaching Staff |  |  |
| Site Supervisor | COSHH risk assessments from data sheets | Annual Review |  |  |  |  | Individual COSHH Assessments are not in place. Please ensure these are completed by the end of the Spring Term. Safety Data Sheets were in place. A COSHH Inventory was in place.  |
| All staff | Display Screen Assessments for staff who are using a computer, laptop, or tablet continuously for 1 hour or more. | Annually |  | Feb 2024 | All appropriate staff |  |  |
| Contractor | Drainage maintenance | Annually |  | 18.2.25. | Drainage Consultants |  | Drainage Consultants are working with Pipeline relating to a possible leakage.  |
| Contractor | Electrical - 5-year fixed wire testing | 5 years |  | 7.9.23. | NICIEC |  |  |
| Contractor | Electrical - PAT (high risk items only) | Annually |  | 16.9.24. | Bradbell |  |  |
| Site Supervisor | Electrical - PAT (recorded visual checks of low-risk items) | Bi-annual |  | April 2025. | Site Supervisor |  |  |
| Contractor | Fire Risk Assessment | 4 years |  | 22.11.21. | Firesec. |  | Or maybe required if significant changes occur to building layout.The next Fire Risk Assessment is due to be procured for November 2025.  |
| Contractor | Fire call points | Annually |  | 13.11.24. | Barlow’s |  |  |
| Site Supervisor | Fire call points | Weekly |  | 28.4.25. | Site Supervisor |  |  |
| Headteacher | Fire drills | Termly |  | 10.4.25. | Headteacher |  |  |
| Contractor | Fire emergency alarm panel | Annually |  | 13.11.24. | Barlow’s |  |  |
| Site Supervisor | Fire emergency alarm panel visual inspection | Weekly |  | 28.4.25. | Site Supervisor |  |  |
| Site Supervisor | Fire emergency lighting  | Monthly |  | 28.4.25. | Site Supervisor |  |  |
| Contractor | Fire emergency lighting  | Bi-annual |  | 13.11.24. | Barlow’s |  |  |
| Site Supervisor | Firefighting equipment  | Monthly |  | 22.4.24. | Site Supervisor |  |  |
| Contractor | Firefighting equipment  | Annually |  | 19.7.24 | Walker Fire |  |  |
| Site Supervisor | Fire means of escape | Weekly |  | 28.4.25. | Site Supervisor |  |  |
| Contractor | Gas safety - all gas appliances located on site | Annually |  | 9.12.24. | The Dodd Group |  |  |
| Contractor | Gas safety - boilers & heating plant comprehensive maintenance | Annually |  | 14.3.25. | The Dodd Group |  |  |
| Contractor | Gas safety - pressure systems (insurance check)  | Annually |  | 14.3.25. | The Dodd Group |  |  |
| Contractor | Gas safety - soundness/tightness | 5 years |  | 23.11.21. | The Dodd Group |  | Next due in November 2026. |
| Contractor | Gates and barriers | Annually |  | 1.8.24. | Triad |  |  |
| Site Supervisor | Gates and barriers | Weekly |  | 28.4.25. | Site Supervisor |  | Daily checks of the exterior areas also take place. |
| Contractor | Grounds Maintenance | Termly |  | April 2025. | Ian Marshall |  |  |
| H&S Governor | Health and Safety Governor Safety Tour | Bi-annually |  | 11.3.25. | Alan Hirst |  |  |
| H&S SLT Tour | Health and Safety SLT Tour | Termly |  | 6.1.25. | SBM |  |  |
| SBM | Health and Safety Objectives and Action Plans | Monthly |  | April 2025. | SBM |  | Objectives are in place along with action plans. There is also a health and safety for children’s activities plan in place.  |
| Key Staff | Health and Safety Training including working at height, manual handling, and general health and safety, legionella awareness, and asbestos awareness | Every 3 years for refresher training |  | 2024. | Key staff |  | Staff undertake their training through the on-line training facility Learning Pool through Stockport Council.Legionella Awareness and Asbestos Awareness Training is. completed on-line through an external company. |
| Headteacher | Health, Safety, and Wellbeing Policy | Every 3 years but reviewed annually |  | Jan 2025. | Headteacher |  | This was last reviewed in February 2024. |
| Headteacher | Induction Policy and Procedures | Annually |  | Sept 2023 | Headteacher |  | An Induction Policy is reviewed annually, and procedures are in place including issuing new staff with an employee handbook.  |
| Contractor | Intruder Alarm | Annually |  | 2.5.24. | Barlow’s |  |  |
| Contractor | Kitchen Ventilation and Deep Clean | Annually |  | March 2025. | Impact Hygiene |  |  |
| Site Supervisor | Ladder Inspection | Half Termly |  | 28.4.25. | Site Supervisor |  |  |
| Contractor | Legionella - up to date risk assessment and written scheme | Biennially |  | 5.1.24. | Acorn Environmental |  |  |
| Contractor | Legionella anti scald | Monthly |  | April 2025. | Acorn Environmental |  |  |
| Site Supervisor | Legionella management weekly flushing of little used outlets & Temp checks | Weekly |  | 28.4.25. | Site Supervisor |  |  |
| Contractor | Legionella Shower Checks | Quarterly |  |  |  |  | The school are awaiting a date off Acorn Environmental to carry out this task as at 29.4.25. |
| Headteacher | Lockdown - test of procedures and policy | Bi-annual |  | Sept 2024 | Headteacher |  |  |
| Contractor | PE Equipment | Annually |  | 4.9.24. | Sportsafe |  |  |
| Site Supervisor | Playground equipment | Monthly |  | 28.4.25. | Site Supervisor |  |  |
| Contractor | Playground equipment | Annually |  | 4.9.24. | Sportsafe |  |  |
| Contractor | Roller shutters annual maintenance | Annually |  | 3.12.24. | Door Care and Security |  |  |
| Headteacher | Site Specific Risk assessments - 3 examples  | Annually |  | 13.2.25. | Headteacher and SBM |  |  |
| Contractor | Stage lighting and rigging & AV Systems | Annually |  | February 2025. | Torpedo |  | The school are currently awaiting a date off Torpedo for their next annual service as at 26.4.24. |
| Contractor | Tree inspections | Biennially |  | 7.12.24. | Ian Marshall |  |  |

10.7 Physical Inspection – Observations and Recommendations

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | **Location** | **Defect** | **Remedy** | **Time Frame** |
| **1** | **PE Storage Area** | **Too many items in place so there is no safe access or egress from this room.**  | **Declutter required and items to be stored on appropriate equipment.**  | **Within 2 weeks.**  |
| **2** | **Hall Area** | **Food Waste Bin stored in this area as per advice from external agencies. This has not been emptied on a weekly basis as promised.**  | **The school to contact the appropriate company to have the bin emptied. The school should also look to have the bin located externally, if possible.**  | **Immediately.** |
|  |  |  |  |  |

Guidance to school

On reviewing this audit and inspection report, the Head teacher should report to the appropriate committee, which can in-turn report to the school’s governing body.

Referencing the recommendations, the school’s leadership team should put together a prioritised action plan to rectify the identified deficiencies. The plan should set out clear actions, identify task completers and associate target timescales.

Support and guidance are available from the Council’s Health, Safety and Wellbeing team where needed. HRSafety&HealthTeam@stockport.gov.uk

Executive Summary

The school is an exceptionally well-presented and well-maintained building; the decoration throughout, both internal and external, is up-to-date and bright. The whole site was very clean throughout.

On entry to the school all visitors sign in via a hard copy signing in book. It was discussed during the audit whether visitors who had allergens could sign to say what allergies they have so that staff were aware. Obviously, this would be up to the visitor to advise the school they suffer from certain allergies.

It was clear from the tidiness, general cleanliness, and happiness of the staff and pupils that this was a school that had a well-developed health, safety, and wellbeing ethos. There were very strong risk assessments in place for all activities, and the site supervisor was making all statutory required checks, which were well documented. As recognition of the excellent work that the Head, SBM, and site supervisor have done to get the school to this level, the auditor suggested that their duties be detailed in full in Section 2 of the school’s Health, Safety, and Wellbeing Policy. For prospective parents of new pupils (who are, able to see the policy via the school's website), this can be seen as a positive indictment that the school is taking the health and safety of staff and pupils seriously.

The school have had all areas repainted white, so everywhere looks nice and bright. Displays were lovely and showed the pride the children and staff have in producing excellent work. The children were sat listening intently to their teaching staff and were very polite to the auditor during the audit. Classrooms are very spacious along with being well-appointed.

Externally, the children have access to a very large field, a forest school area, a large playground which houses basketball/netball posts, a wooded area for nature trails. There is a gym area along with a large trim trail. The gym equipment is currently used by juniors only. The view from the rear of the school overlooks a field which is currently housing lambs, which the children and staff love to look at.

There are 2 beehives on site which the school business manager and a member of teaching staff look after, and wear, full PPE for working with the bees. The children enjoy watching the bees during the summer months. Weekly hive inspections take place from an external beekeeper who works with the school in ensuring that all appropriate procedures are followed.

The Boardroom and 1-1 areas are beautifully decorated and houses a lovely library where children can access books, and is a calm and serene area for children and staff to relax in.

There are impact rooms throughout the setting, which have adequate seating and tables in them for children to learn.

The Nursery area is well-resourced, and the children have access to a play construction area, mud kitchen, and play equipment.

The staff room houses a table and seating where staff can sit in comfort. PPA work can also be undertaken in this area. There is also an area within the Boardroom where staff can complete their PPA planning work.

Fire Action signage is appropriately completed throughout the setting.

All coats and bags belonging to the children were stored on pegs in the corridor areas.

Kickstart come into the school to work with the children relating to sports and are organising the upcoming Sports Day. A Sports week is also planned in the near future.

The school is making excellent progress in developing its adherence to HSG65, which is the methodology for effective measurement and management of health, safety, and welfare as outlined by the Health and Safety Executive and adopted by SMBC as its own methodology. The fact that governors, are completing termly Health, Safety, and Wellbeing walk rounds from which an action plan is developed, and reports ensue to Governor meetings means that Health, Safety, and Wellbeing is well and truly on the radar of all those who work at the school and that there is an excellent level of planning and future proofing for the school.

In terms of next steps, the school should continue to maintain its excellent approach to health and safety and use the opportunity of the Health, Safety, and Wellbeing notice board in the staff room to highlight Health, Safety, and Wellbeing initiatives being pursued by SMBC and any initiatives that the school is pursuing itself. The audit report could also be uploaded onto the school's website to help promote the excellent achievements made by the school. The lack of serious accidents reported via the SMBC online portal was a good indicator that health and safety were being proactively managed by the whole school.

|  |
| --- |
| Inspection and Audit Action Plan  |
| **Item** | **Actions required**  | **Time Frame** | **Date Completed** |
| **PE Storage Area** | **Too many items in place so there is no safe access or egress from this room. Declutter required and items to be stored on appropriate equipment.**  | **Within 1 week.** |  |
| **Hall Area** | **Food Waste Bin stored in this area as per advice from external agencies. This has not been emptied on a weekly basis as promised. The school to contact the appropriate company to have the bin emptied. The school should also look to have the bin located externally, if possible.**  | **Immediate.** |  |
| **Chemical safety – Control of** **Substances** **Hazardous to** **Health (COSHH)**  | **COSHH risk assessments need to be carried out to go alongside the safety data sheets.** **Copies of COSHH risk assessments should be made accessible in the areas where the substances are stored and in the Fire Book.** **A COSHH Inventory is in place.****If assistance is required with the undertaking of COSHH Assessments, please contact the Auditor.**  | **End of May 2025.** |  |
|  |  |  |  |